{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-12_其他项目清单与计价汇总表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(全部工料机)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"hidden":true,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"相思湖校区航海技术实训基地改造",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[null,null,"广西桂水工程咨询有限公司"]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2019年04月25日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"相思湖校区航海技术实训基地改造",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",{"$nulls":4},"复 核 时 间："]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","相思湖校区航海技术实训基地改造工程","第1页 共1页"]
["1、工程概况：相思湖校区航海技术实训基地改造工程。\r\n2、编制依据：,\r\n （1）本项目设计图纸、范围及设计补充说明，控制价编制过程中相关答疑。\r\n （2）《建设工程工程量清单计价规范》（GB50500-2013）；\r\n （3）《<建设工程工程量清单计价规范>（GB50500-2013）广西壮族自治区实施细则》；\r\n  (4）《建设工程工程量计算规范》（GB50854～50862-2013）；\r\n （5）《建设工程工程量计算规范（GB50854~50862-2013）广西壮族自治区实施细则（修订版）》；\r\n （6）2013年《广西壮族自治区建筑装饰装修工程消耗量定额》及2016年《广西壮族自治区建设工程费用定额》；\r\n （7）2015年《广西壮族自治区安装工程消耗量定额》及2016年《广西壮族自治区建设工程费用定额》；\r\n  3、费率：\r\n （1）本工程综合费率按相关费用定额有关规定计取。\r\n  (2) 增值税税率按(桂建标【2019】10号文）规定进行调整。\r\n （3）定额人工费、管理费率按桂建标（桂建标字【2018】19号）规定进行调整。\r\n （4）本工程措施项目中的安全施工增加费、文明施工增加费、环境保护费、临时设施费等四项按桂建质【2006】22号计取及南建质按[2013]22文件要求执行。\r\n （5）建筑安装工程劳动保险费按（桂政发（2012）42号）文件要求执行。\r\n （6）《南宁建设工程造价信息》2019年第02期，缺项参考建材信息或市场询价；对于造价信息没有发布价格信息的材料，例如瓷砖，其价格参照南宁市场中档产品价。\r\n4、其他说明：\r\n （1）垃圾运距：按15km；"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","相思湖校区航海技术实训基地改造工程"]
[null,"        投标报价合计"]
{"$rows_empty":27}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1.1","相思湖校区航海技术实训基地改造工程--土建"]
["1.1.2","相思湖校区航海技术实训基地改造工程--安装"]
["1.1.3","相思湖校区航海技术实训基地改造工程--拆除"]
[null,"        投标报价合计"]
{"$rows_empty":25}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":84,"n_cols":4,"rows_kept":84,"merged":[[0,0,0,3],[1,0,1,2],[42,0,42,3],[43,0,43,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:相思湖校区航海技术实训基地改造工程",null,null,"第1页 共2页"]
["序号","汇总内容","金额(元)","备注"]
[null,"相思湖校区航海技术实训基地改造工程--土建"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"相思湖校区航海技术实训基地改造工程--安装"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"相思湖校区航海技术实训基地改造工程--拆除"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:相思湖校区航海技术实训基地改造工程",null,null,"第2页 共2页"]
["序号","汇总内容","金额(元)","备注"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
["5","规费、税金项目清单计价合计"]
["5.1","其中:增值税"]
{"$rows_empty":34}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":289,"n_cols":8,"rows_kept":289,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[41,0,41,7],[42,0,42,5],[42,6,42,7],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,43,7],[44,5,45,5],[44,6,45,6],[82,0,82,7],[83,0,83,5],[83,6,83,7],[84,0,86,0],[84,1,86,1],[84,2,86,2],[84,3,86,3],[84,4,86,4],[84,5,84,7],[85,5,86,5],[85,6,86,6],[122,0,122,7],[123,0,123,5],[123,6,123,7],[124,0,126,0],[124,1,126,1],[124,2,126,2],[124,3,126,3],[124,4,126,4],[124,5,124,7],[125,5,126,5],[125,6,126,6],[163,0,163,7],[164,0,164,5],[164,6,164,7],[165,0,167,0],[165,1,167,1],[165,2,167,2],[165,3,167,3],[165,4,167,4],[165,5,165,7],[166,5,167,5],[166,6,167,6],[204,0,204,7],[205,0,205,5],[205,6,205,7],[206,0,208,0],[206,1,208,1],[206,2,208,2],[206,3,208,3],[206,4,208,4],[206,5,206,7],[207,5,208,5],[207,6,208,6],[246,0,246,7],[247,0,247,5],[247,6,247,7],[248,0,250,0],[248,1,250,1],[248,2,250,2],[248,3,250,3],[248,4,250,4],[248,5,248,7],[249,5,250,5],[249,6,250,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程 ",{"$nulls":5},"第1页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"相思湖校区航海技术实训基地改造工程--土建"]
[null,null,"分部分项工程"]
[null,null,"A.1 土（石）方工程"]
["1","010101003001","挖沟槽土方","","30.87"]
[null,null,"1.土壤类别:三类土"]
[null,null,"2.挖土深度:1.5m以内"]
[null,null,"3.沟槽尺寸：1.9*1.9*7（已考虑工作面）"]
["2","010103001001","回填方","","14.00"]
[null,null,"1.填方来源、运距:原土回填"]
["3","010103002001","余土弃置","","20.90"]
[null,null,"1、运距:1KM"]
["4","桂010103003001","土（石）方运输增（减）m3·km","·km","292.60"]
[null,null,"渣土运距:14km"]
[null,null,"A.3 砌筑工程"]
["5","010402001001","砌块墙","","6.72"]
[null,null,"1、砖的品种、规格、强度等级:蒸压加气混凝土砌块"]
[null,null,"2、墙体厚度：200mm，墙高度：1.2m"]
[null,null,"3、砂浆强度等级、配合比:M5混合砂浆"]
["6","010402001002","砌块墙（围墙恢复）","","2.10"]
[null,null,"1、砖的品种、规格、强度等级:蒸压加气混凝土砌块"]
[null,null,"2、墙体厚度：250mm"]
[null,null,"3、砂浆强度等级、配合比:M5混合砂浆"]
[null,null,"A.4 混凝土及钢筋混凝土工程"]
["7","010502002001","构造柱","","0.34"]
[null,null,"1.混凝土种类:普通混凝土"]
[null,null,"2.混凝土强度等级:C20"]
["8","010501002001","带形基础","","15.75"]
[null,null,"1.混凝土种类:普通混凝土"]
[null,null,"2.混凝土强度等级:C40"]
[null,null,"3.救生艇基础1.5*1.5*7m"]
["9","010501001001","垫层","","1.12"]
[null,null,"1.混凝土种类:普通混凝土"]
[null,null,"2.混凝土强度等级:C20"]
[null,null,"3.救生艇基础垫层"]
["10","010515001001","现浇构件螺纹钢制安 10以上","t","1.302"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程 ",{"$nulls":5},"第2页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1、双层双向25@200*200"]
[null,null,"2、侧面筋25@200"]
[null,null,"A.7 屋面及防水工程"]
["11","010903002001","墙面涂膜防水","㎡","150.00"]
[null,null,"1、西面整个墙面"]
[null,null,"2、聚氨酯防水 1.5mm厚"]
[null,null,"3、相当于或不低于 “金雨伞”牌子"]
["12","010901002001","夹芯板屋面","㎡","180.00"]
[null,null,"1.铝锡合金隔热夹芯板屋面"]
[null,null,"2.0.5mm厚 1000型 角驰Ⅲ镀铝锌彩钢板+75mm聚苯乙烯保温棉+0.5mm厚1000型角驰Ⅲ镀铝锌彩钢板"]
[null,null,"A.9 楼地面工程"]
["13","011101005001","自流坪楼地面","㎡","850.00"]
[null,null,"1、刷环氧罩面漆一遍"]
[null,null,"2、环氧自流平层两次（3-4mm）"]
[null,null,"3、水泥基自流平找平1-4mm"]
[null,null,"4、基层打磨,涂环氧介面剂"]
[null,null,"5、相当于或不低于 “绣柏”牌子"]
[null,null,"A.10 墙、柱面工程"]
["14","011201001001","墙面一般抹灰","㎡","306.40"]
[null,null,"1、15厚专用抹灰砂浆"]
[null,null,"2、5厚1:2水泥砂浆"]
[null,null,"3、位置：新建墙体，西面整个墙面，原卫生间墙裙部分、原墙体抹灰脱落部分"]
["15","011210003001","玻璃隔断","㎡","100.00"]
[null,null,"1、不锈钢骨架玻璃隔断"]
[null,null,"2、高度2.3m"]
[null,null,"3、玻璃采用：钢化玻璃 12mm"]
[null,null,"4.品牌：相当于或不低于“信义”"]
["16","桂011204007001","块料墙面","㎡","16.80"]
[null,null,"1、围墙恢复贴砖"]
[null,null,"2、20厚1:2水泥砂浆找平"]
[null,null,"3、面贴45*95墙面砖"]
[null,null,"4.品牌：相当于或不低于“白兔”"]
[null,null,"A.11 天棚工程"]
["17","011302001001","铝板吊顶天棚","㎡","439.20"]
[null,null,"1.装配式U型轻钢天棚龙骨(不上人型) 面层规格(600×600mm)  平面"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程 ",{"$nulls":5},"第3页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.天棚铝板面层 600×600*0.8"]
[null,null,"3.品牌：相当于或不低于“德普龙”"]
[null,null,"A.12 门窗工程"]
["18","010802001001","普通推拉门","㎡","6.60"]
[null,null,"1、铝合金推拉门 不带亮"]
[null,null,"2、尺寸：1.5*2.2m"]
[null,null,"3、品牌：相当于或不低于“富桂”"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["19","011407001001","内墙面刮腻子","㎡","306.40"]
[null,null,"1、面刮腻子2遍，面刮乳胶漆二遍"]
[null,null,"2、相当于或不低于“多乐士”"]
[null,null,"3、位置：新建墙体，西面整个墙面，原卫生间墙裙部分、原墙体抹灰脱落部分"]
["20","011407001001","内墙面喷刷乳胶漆","㎡","1000.00"]
[null,null,"1、乳胶漆2遍"]
[null,null,"2、相当于或不低于“多乐士”"]
[null,null,"3、位置：除新建墙体，西面整个墙面，原卫生间墙裙部分、原墙体抹灰脱落部分外"]
["21","011406001001","天棚刷乳胶漆","㎡","532.20"]
[null,null,"1、面刮乳胶漆二道"]
[null,null,"2、相当于或不低于“多乐士”"]
[null,null,"A.14 其他装饰工程"]
["22","040309001001","金属栏杆（围墙护栏）","m","7.00"]
[null,null,"1、不锈钢管Φ25×0.8栏杆"]
[null,null,"2、每隔100mm一根，每根2m"]
[null,null,"3、主材利用原有材料"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["23","011701006","钢管满堂脚手架 高度9m","㎡","532.20"]
[null,null,"1.钢管满堂脚手架 高度9m"]
[null,"011702","混凝土模板及支架(撑)"]
["24","011702003001","构造柱 胶合板模板 木支撑","㎡","6.72"]
["25","011702001001","带形基础 无筋混凝土 胶合板模板 木支撑","㎡","25.50"]
["26","011702001002","混凝土基础垫层 木模板木支撑","㎡","1.40"]
[null,null,"相思湖校区航海技术实训基地改造工程--安装"]
[null,null,"分部分项工程"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程 ",{"$nulls":5},"第4页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"B4 电气设备安装工程"]
["27","030404017001","18位模数配电箱（内置空开）","台","15"]
[null,null,"1、安装方式：距地高1.5m靠墙暗装"]
[null,null,"2、按箱内元器件计价"]
[null,null,"3、箱内含有(不少于)3个空气开关，1个浪涌保护器"]
[null,null,"4、配电箱箱体铁皮厚度≥1.2mm"]
[null,null,"5、品牌：相当于或不低于“施耐德”"]
["28","030411003001","钢制桥架 100×100*1.2","m","150.00"]
[null,null,"1.钢制桥架 100×100*1.2"]
[null,null,"2、品牌：相当于或不低于“乔顿”"]
["29","030411004001","铜芯塑料绝缘导线  BV-2.5","m","600.00"]
[null,null,"1、线槽配线 照明线路 BV-3*2.5"]
[null,null,"2、品牌：相当于或不低于“雄塑”"]
["30","030411004002","铜芯塑料绝缘导线  BV-4.0","m","300.00"]
[null,null,"1、线槽配线 照明线路 BV-3*4"]
[null,null,"2、品牌：相当于或不低于“雄塑”"]
["31","030411004003","铜芯塑料绝缘导线  BV-6.0","m","90.00"]
[null,null,"1、线槽配线 动力线路 BV-3*6.0"]
[null,null,"2、品牌：相当于或不低于“雄塑”"]
["32","030411004004","铜芯塑料绝缘导线  BV-10","m","100.00"]
[null,null,"1线槽配线 动力线路 BV-3*10"]
[null,null,"2、品牌：相当于或不低于“雄塑”"]
["33","030411004005","铜芯塑料绝缘导线  BV-35","m","750.00"]
[null,null,"1.线槽配线 动力线路 BV-3*25"]
[null,null,"2、品牌：相当于或不低于“雄塑”"]
["34","030411002001","塑料线槽39×19","m","613.33"]
[null,null,"1、塑料线槽安装 39×19"]
[null,null,"2、品牌：相当于或不低于“港兴”"]
["35","030408001001","铜芯交联电力电缆YJV 0.6/1KV 5×95mm2","m","50.00"]
[null,null,"1、三相五线，铜芯交联电力电缆YJV 0.6/1KV 5×95mm2"]
[null,null,"2、品牌：相当于或不低于“雄塑”"]
["36","030412005001","LED投光射灯150w(实训基地）","套","60"]
[null,null,"1.LED投光射灯150w，防水防爆"]
[null,null,"2、品牌：相当于或不低于“中建普联”"]
["37","030412005003","LED格栅灯盘1200*300","套","8"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程 ",{"$nulls":5},"第5页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1、LED格栅灯盘1200*300，40W双管"]
[null,null,"2、品牌：相当于或不低于“井本”"]
["38","030404035001","空调插座","套","2"]
[null,null,"1.单相三孔空调插座16A"]
[null,null,"2、品牌：相当于或不低于“西门子”"]
["39","030404034001","单联单控开关","套","6"]
[null,null,"1、单联单控开关10A"]
[null,null,"2、品牌：相当于或不低于“浙江龙胜”"]
[null,null,"B9 给排水、燃气工程"]
["40","031001006001","PP-R给水管Ф25","m","60.00"]
[null,null,"1.PP-R给水管1.25MPa Ф25"]
[null,null,"2.连接方式：粘接"]
[null,null,"3.管道消毒、冲洗 公称直径(mm以内) 50"]
[null,null,"4.品牌：相当于或不低于“联塑”"]
["41","031004004001","拖把池","套","1"]
[null,null,"1.拖把池610*390*345"]
[null,null,"2.品牌：相当于或不低于“美洁”"]
["42","031004003001","台式洗手盘","套","2"]
[null,null,"1.洗手盘"]
[null,null,"2.品牌：相当于或不低于“箭牌”"]
["43","030901012001","消防栓","套","3"]
[null,null,"1、室内消火栓"]
[null,null,"2、含DN65消火栓一个,衬胶水带长L=25m一根,铝合金水枪枪口口径19mm一个"]
[null,null,"3.品牌：相当于或不低于“博桂消防”"]
[null,null,"单价措施项目"]
[]
[null,null,"相思湖校区航海技术实训基地改造工程--拆除"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["44","011601001001","砖砌体拆除（围墙）","","2.10"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.拆除高度:1.2m"]
[null,null,"3.砌体材质:砌块墙"]
[null,null,"4.含搬运至指定地点堆放"]
["45","011609001001","围墙栏杆拆除","㎡","14.00"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程 ",{"$nulls":5},"第6页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.拆除高度:2m"]
[null,null,"3.含搬运至指定地点堆放"]
["46","011604002001","墙面抹灰层拆除","㎡","250.00"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.含搬运至指定地点堆放"]
["47","011606003001","防雨顶棚","㎡","290.00"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.龙骨及饰面种类:薄钢板"]
[null,null,"3.含搬运至指定地点堆放"]
["48","011613001001","吊灯拆除","套","25"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.含搬运至指定地点堆放"]
["49","030411004001","照明电线拆除","m","200.00"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.含搬运至指定地点堆放"]
["50","011612001001","给水管道拆除","m","10.00"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.塑料给水管拆除  公称外径(mm以内)25"]
[null,null,"3.含搬运至指定地点堆放"]
[null,null,"G.4 渣土场外运输"]
["51","010103002001","余土弃置","","35.44"]
[null,null,"渣土运距:1km"]
["52","桂010103003001","土（石）方运输增（减）m3·km","·km","496.16"]
[null,null,"渣土运距:14km"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["53","桂011701004001","内装修钢管脚手架 3.6m以上","㎡","150.00"]
[null,null,"1.用于墙面铲灰"]
{"$rows_empty":7}
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程 ",{"$nulls":5},"第7页 共7页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":31}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":39,"n_cols":7,"rows_kept":39,"merged":[[0,0,0,6],[1,0,1,4],[4,3,7,3],[9,3,11,3],[14,3,15,3],[37,0,37,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"相思湖校区航海技术实训基地改造工程--土建"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"相思湖校区航海技术实训基地改造工程--安装"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
["10","桂031401010001","脚手架搭拆费"]
[null,null,"相思湖校区航海技术实训基地改造工程--拆除"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["3","桂011801003001","雨季施工增加费"]
[null,null,"      合     计"]
{"$rows_empty":20}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-12_其他项目清单与计价汇总表","index":8,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2],[41,0,41,2]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称:相思湖校区航海技术实训基地改造工程   ",null,null,"第1页 共1页"]
["序号","项目名称","金额（元）","备注"]
[null,"相思湖校区航海技术实训基地改造工程--土建"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"相思湖校区航海技术实训基地改造工程--安装"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"相思湖校区航海技术实训基地改造工程--拆除"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"            合           计"]
{"$rows_empty":19}
["注:材料暂估单价进入清单综合单价，此处不汇总。",null,null,"表－12"]

{"sheet":"表-14_税前项目清单与计价表","index":9,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[40,0,40,6],[41,0,41,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"相思湖校区航海技术实训基地改造工程--土建"]
["1","010807001001","更换玻璃","㎡","10.00"]
[null,null,"1.更换破损玻璃"]
[null,null,"2.玻璃采用与建筑玻璃材质一致"]
[null,null,"3、主材由施工方购买，工程量暂按10m2估算"]
["2","FA080100600001","门锁更换","个","1"]
["3","010606013001","救生艇安装","t","5.000"]
[null,null,"1、含救生艇安装、地面支架安装和二次搬运"]
[null,null,"相思湖校区航海技术实训基地改造工程--拆除"]
["4","010103002002","弃渣费","","35.44"]
["5","011505001001","洗手槽拆除","项","1"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.含搬运至指定地点堆放"]
["6","011608001001","铲除地面漆","㎡","850.00"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.含搬运至指定地点堆放"]
["7","011611005001","救生艇拆除","t","5.000"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.含搬运至指定地点堆放"]
["8","010103002003","救生艇弃置费","t","5.000"]
[null,null,"1、运距:15km"]
["9","011602001001","卫生间拆除","项","1"]
[null,null,"1.拆除方式:人工拆除"]
[null,null,"2.含搬运至指定地点堆放"]
[null,null,"3.包含大便器，小便器，砌体隔断、沉箱、卫生间墙裙"]
[null,null,"               合             计"]
{"$rows_empty":9}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":10,"n_rows":78,"n_cols":5,"rows_kept":78,"merged":[[0,0,0,4],[1,0,1,3],[5,2,11,2],[16,2,23,2],[27,2,32,2],[33,2,34,2],[35,2,36,2],[38,0,38,4],[39,0,39,3],[41,2,44,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第1页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"相思湖校区航海技术实训基地改造工程--土建"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"相思湖校区航海技术实训基地改造工程--安装"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"相思湖校区航海技术实训基地改造工程--拆除"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第2页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["2.2","城市维护建设税","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"       合          计"]
{"$rows_empty":31}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(全部工料机)","index":11,"n_rows":268,"n_cols":6,"rows_kept":268,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5],[84,0,84,5],[85,0,85,2],[85,4,85,5],[126,0,126,5],[127,0,127,2],[127,4,127,5],[168,0,168,5],[169,0,169,2],[169,4,169,5],[210,0,210,5],[211,0,211,2],[211,4,211,5],[252,0,252,5],[253,0,253,2],[253,4,253,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第1页  共7页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000301000","建筑装饰人工","元"]
[3,"000501000","安装人工","元"]
[4,"R0101001","建筑综合工日(一类)","工日"]
[5,"R09001","安装拆除工日","元"]
[6,null,"◆材料◆"]
[7,"010000103","型钢（综合）","kg"]
[8,"010103002","螺纹钢筋HRB400 10以上(综合)","t"]
[9,"010310001","镀锌铁丝(综合)","kg"]
[10,"010310002","镀锌铁丝 Φ4","kg"]
[11,"010310006","镀锌铁丝 Φ2.1","kg"]
[12,"010310013","镀锌铁丝 Φ0.7","kg"]
[13,"011302007","扁钢 60以内","kg"]
[14,"014902002","角铝 25.4×1","kg"]
[15,"014903003","槽铝 100mm","m"]
[16,"014904002","工字铝 75mm","m"]
[17,"015303002","封铅 含铅 65% 含锡 35%","kg"]
[18,"020101002","橡胶板 2mm","㎡"]
[19,"020101009","橡胶板 1～3mm","kg"]
[20,"020303002","橡胶密封条 20×4","m"]
[21,"020310001","密封带 3×20mm","m"]
[22,"021303001","聚四氟乙烯生料带 宽20mm","m"]
[23,"022705004","棉纱头","kg"]
[24,"022706004","白布 0.9m","㎡"]
[25,"022706010","破布","kg"]
[26,"023301001","草袋","㎡"]
[27,"030104004","铝拉铆钉 M5×40mm","百个"]
[28,"030108001","自攻螺钉","百个"]
[29,"030110003","镀锌自攻螺钉 M4～6×20～35","个"]
[30,"030111005","不锈钢螺钉 M3×12","个"]
[31,"030112005","木螺钉 m2～4×6～65","个"]
[32,"030113002","镀锌木螺钉 M4.5～6×15～100","个"]
[33,"030119001","机螺钉","kg"]
[34,"030126011","螺栓 M6×100","套"]
[35,"030127034","镀锌螺栓 M10×100","套"]
[36,"030156001","膨胀螺栓","套"]
[37,"030156012","膨胀螺栓 M8","套"]
[38,"030156014","膨胀螺栓 M8×65","套"]
[]
["主要材料及价格表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第2页  共7页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"030156016","膨胀螺栓 M8×80","套"]
[40,"030156018","膨胀螺栓 M10","套"]
[41,"030157003","镀锌膨胀螺栓 M8","套"]
[42,"030168004","镀锌锁紧螺母 20","个"]
[43,"030171101","螺母","百个"]
[44,"030172001","垫圈","百个"]
[45,"030182005","塑料胀管 Φ6~8","颗"]
[46,"030183001","铁钉(综合)","kg"]
[47,"031301006","砂轮片 400","片"]
[48,"031304001","碟形钢丝砂轮片 100","片"]
[49,"031311001","电焊条（综合）","kg"]
[50,"031321001","焊锡丝  综合","kg"]
[51,"031337001","冲击钻头（综合）","根"]
[52,"031337006","冲击钻头 Φ8","个"]
[53,"031337010","冲击钻头 Φ12","个"]
[54,"031338001","合金钢钻头(综合)","个"]
[55,"031345001","钢锯条","根"]
[56,"031345004","石料切割锯片","片"]
[57,"031347002","砂纸(木)","张"]
[58,"031347004","铁砂布","张"]
[59,"032116001","铁件(综合)","kg"]
[60,"032118013","镀锌全螺纹吊杆Φ6","m"]
[61,"032124005","固定卡子","只"]
[62,"032125003","彩钢内外扣槽","m"]
[63,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[64,"040102004","普通硅酸盐水泥 42.5MPa","kg"]
[65,"040301001","砂(综合)",""]
[66,"040301003","细砂",""]
[67,"040301004","中砂",""]
[68,"040501005","砾石 10～40mm",""]
[69,"040502004","碎石 5～40mm",""]
[70,"040902004","石灰膏",""]
[71,"040903001","石膏粉","kg"]
[72,"040904003","滑石粉","kg"]
[73,"041504001","蒸压加气砼配块",""]
[74,"041504004","蒸压加气砼砌块 590×200×200",""]
[75,"041504005","蒸压加气砼砌块 590×250×250",""]
[76,"050101001","木材(综合)",""]
[]
["主要材料及价格表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第3页  共7页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[77,"050102005","周转圆木",""]
[78,"050306001","周转板枋材",""]
[79,"050306002","周转枋材",""]
[80,"050306003","周转板材",""]
[81,"053501002","竹篾","百根"]
[82,"060501004","钢化玻璃 12mm","㎡"]
[83,"070103003","45*95墙面砖","㎡"]
[84,"090503001","铝板 600×600*0.8","㎡"]
[85,"091103001","铝锡合金隔热夹芯板","㎡"]
[86,"100102002","轻钢大龙骨 h45","m"]
[87,"100102003","轻钢中龙骨 h19","m"]
[88,"100102005","轻钢中龙骨横撑 h19","m"]
[89,"101301001","轻钢龙骨主接件","个"]
[90,"101301002","轻钢龙骨次接件","个"]
[91,"101302002","轻钢中龙骨平面连接件","个"]
[92,"101302004","轻钢大龙骨垂直吊挂件","个"]
[93,"101302005","轻钢中龙骨垂直吊挂件","个"]
[94,"110902001","铝合金推拉门不带亮(成品)","㎡"]
[95,"130102001","调和漆(综合)","kg"]
[96,"130122001","罩面漆","kg"]
[97,"130132001","油灰","kg"]
[98,"130301001","乳胶漆","kg"]
[99,"130304002","水泥自流平粉料","kg"]
[100,"130308001","聚氨酯甲料","kg"]
[101,"130312001","双飞粉","kg"]
[102,"130312002","大白粉","kg"]
[103,"130516001","绣铂环氧底漆","kg"]
[104,"130516002","绣铂环氧面漆","kg"]
[105,"130516003","绣铂环氧中层漆","kg"]
[106,"130519001","沥青绝缘漆","kg"]
[107,"133503001","防水胶(310g/支)","支"]
[108,"133509002","中性耐侯硅胶（500ml/支）","支"]
[109,"133901001","防腐油","kg"]
[110,"134101001","嵌缝料","kg"]
[111,"140301004","国V汽油 92#","kg"]
[112,"140702001","机油（综合）","kg"]
[113,"140901002","电力复合酯 一级","kg"]
[114,"143124001","漂白粉","kg"]
[]
["主要材料及价格表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第4页  共7页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[115,"143303001","硬酯酸 一级","kg"]
[116,"143305003","二甲苯","kg"]
[117,"143309001","丙酮","kg"]
[118,"143315001","羧甲基纤维素","kg"]
[119,"143503004","高效减水剂(粉)","kg"]
[120,"143504015","聚氨酯乙料","kg"]
[121,"143520001","隔离剂","kg"]
[122,"143536001","多功能水性界面剂","kg"]
[123,"144101005","建筑胶","kg"]
[124,"144108001","乳白胶","kg"]
[125,"144113002","玻璃胶 310g","支"]
[126,"144113003","玻璃胶 350g","支"]
[127,"144116005","粘合剂","kg"]
[128,"144301004","自粘性橡胶带 20mm×5m","卷"]
[129,"172504001","硬聚氯乙烯(PVC－U)排水管 De50","m"]
[130,"172513000","塑料软管","kg"]
[131,"172515001","软管 DN15 L=30～50cm","根"]
[132,"180327001","外丝 DN15","个"]
[133,"180907001","PVC转换接头 De50×40","个"]
[134,"180909001","内螺牙弯头 De20","个"]
[135,"182501002","塑料管卡 de25","个"]
[136,"213313001","角型阀(带铜活) DN15","个"]
[137,"213322001","存水弯 De32","个"]
[138,"213322005","存水弯 塑料 S型 DN50","个"]
[139,"213322007","洗手盆存水弯带下水口 De25","套"]
[140,"213325001","排水栓(带链堵) De50","套"]
[141,"213328000","洗脸盆托架","副"]
[142,"270601003","接地线 BV-5.5~16","m"]
[143,"280301005","铜芯塑料绝缘导线  BV-2.5","m"]
[144,"280301006","铜芯塑料绝缘导线  BV-4.0","m"]
[145,"280301007","铜芯塑料绝缘导线  BV-6.0","m"]
[146,"280301008","铜芯塑料绝缘导线  BV-10","m"]
[147,"280301011","铜芯塑料绝缘导线  BV-35","m"]
[148,"290628002","塑料护口 15～20","个"]
[149,"290631007","电缆吊挂 3×50","套"]
[150,"291112001","接线盒","个"]
[151,"292702006","尼龙扎带(综合)","个"]
[152,"341101001","水",""]
[]
["主要材料及价格表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第5页  共7页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[153,"341103001","电","kW.h"]
[154,"341301011","标志牌 塑料扁形","个"]
[155,"341508001","其他材料费","元"]
[156,"350103001","胶合板模板 1830×915×18","㎡"]
[157,"350302001","回转扣件","个"]
[158,"350302002","对接扣件","个"]
[159,"350302003","直角扣件","个"]
[160,"350303001","脚手架焊接钢管 Φ48.3×3.6","t"]
[161,"350305001","金属脚手架底座","个"]
[162,"350307002","竹脚手板","㎡"]
[163,"370905001","钢垫板","kg"]
[164,"C00010160","其他材料费","元"]
[165,null,"◆配合比◆"]
[166,"800102001","水泥砂浆 1∶1",""]
[167,"800102003","水泥砂浆 1∶2",""]
[168,"800102005","水泥砂浆 1∶3",""]
[169,"800301004","水泥石灰砂浆中砂M5",""]
[170,"800501006","混合砂浆 1∶1∶6",""]
[171,"800501008","混合砂浆 1∶0.5∶3",""]
[172,"801101001","素水泥浆",""]
[173,"802101021","砾石 GD40 中砂水泥 32.5 C20",""]
[174,"802102024","碎石 GD40 中砂水泥32.5 C20",""]
[175,"802102028","碎石 GD40 中砂水泥 32.5 C40",""]
[176,null,"◆主材◆"]
[177,"172501000","PP-R给水管1.25MPa Ф25","m"]
[178,"180903000","塑料给水管件","个"]
[179,"210902000","台式洗手盘","个"]
[180,"211301000","拖把池610*390*345","个"]
[181,"213301000","水嘴","个"]
[182,"230303000","室内消火栓","套"]
[183,"550117001","成套配电箱","台"]
[184,"Z250001001","LED防爆射灯","套"]
[185,"Z250001001","LED格栅灯盘1200*300，40","套"]
[186,"Z260501001","单联单控开关","个"]
[187,"Z264101001","单相三孔空调插座16A","套"]
[188,"Z281100000","铜芯交联电力电缆YJV 0.6/1KV 5×95mm2","m"]
[189,"Z290101000","钢制桥架 100×100*1.2","m"]
[190,"Z290302000","塑料线槽39×19","m"]
[]
["主要材料及价格表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第6页  共7页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[191,"Z291112001","接线盒","个"]
[192,null,"◆机械台班组成◆"]
[193,"000301001A","机械台班人工费","元"]
[194,"000301001","机械台班人工费","元"]
[195,"140301004","国V汽油 92#","kg"]
[196,"140304001","轻柴油 0#","kg"]
[197,"341103001","电","kW.h"]
[198,"994701001","其他机械费","元"]
[199,"994701003","停滞费","元"]
[200,"994701004","折旧费","元"]
[201,"994701005","大修理费","元"]
[202,"994701006","经常修理费","元"]
[203,"994701007","安拆及场外运输费","元"]
[204,"994701008","其他费用","元"]
[205,"C1403001","轻柴油0#","kg"]
[206,"J00000001","折旧费","元"]
[207,"J00000002","大修理费","元"]
[208,"J00000003","经常修理费","元"]
[209,"J00000005","停滞费","元"]
[210,"J00000006","其他费用","元"]
[211,"R0800001","机械台班工日","工日"]
[212,null,"◆机械◆"]
[213,"981110002","绝缘电阻测试仪 ZC-8","台班"]
[214,"990502003","双锥反转出料混凝土搅拌机[出料容量500L]","台班"]
[215,"990506001","混凝土振捣器[平板式]","台班"]
[216,"990506002","混凝土振捣器[插入式]","台班"]
[217,"990509001","灰浆搅拌机[拌筒容量200L]","台班"]
[218,"990704004","载货汽车[装载质量4t]","台班"]
[219,"990704005","载货汽车[装载质量5t]","台班"]
[220,"990704007","载货汽车[装载质量8t]","台班"]
[221,"990705001","自卸汽车[装载质量2t]","台班"]
[222,"990903002","汽车式起重机[提升质量8t]","台班"]
[223,"991305001","夯实机电动[夯击能力200～620Nm]","台班"]
[224,"991523003","手提砂轮机[砂轮直径Φ150]","台班"]
[225,"991702001","钢筋切断机[直径40mm]","台班"]
[226,"991703001","钢筋弯曲机[直径40mm]","台班"]
[227,"991924003","螺栓套丝机","台班"]
[228,"992101001","木工圆锯机[直径500mm]","台班"]
[]
["主要材料及价格表"]
["工程名称:相思湖校区航海技术实训基地改造工程",{"$nulls":3},"第7页  共7页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[229,"992301003","砂轮切割机 400","台班"]
[230,"992302001","石料切割机5.5KW以内","台班"]
[231,"992316001","电动打磨机","台班"]
[232,"992501002","交流电弧焊机[容量30kVA]","台班"]
[233,"992509003","对焊机[容量75kVA]","台班"]
[234,"994301031","电动空气压缩机[排气量0.6/min]","台班"]
[235,"994410004","试压泵 压力 30MPa","台班"]
[236,"994501001","轴流通风机[功率7.5kW]","台班"]
[237,"994508001","电锤 520W","台班"]
[238,"994531001","反吸式除尘机[D2-FX1]","台班"]
[239,"994701001","其他机械费","元"]
[240,"J04010203","自卸汽车[装载质量4.5t]","台班"]
[241,null,"#### 合 计 ####"]