{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-12_其他项目清单与计价汇总表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料价格表(打勾部分)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"广西交通职业技术学院纪委标准谈话室改造",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[null,null,"广西万安工程咨询有限公司"]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年10月16日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"广西交通职业技术学院纪委标准谈话室改造",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院",{"$nulls":3},"广西万安工程咨询有限公司"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年10月16日",null,null,"复 核 时 间：","2022年10月16日"]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","广西交通职业技术学院纪委标准谈话室改造","第1页 共1页"]
["一、工程概况：本工程位于广西交通职业技术学院昆仑校区。\r\n\r\n  \r\n二、编制依据:\r\n（一）、设计图纸。\r\n（二）、《建设工程工程量清单计价规范》GB50500-2013及配套使用的广西清单实施细则。 \r\n（三）、《建设工程工程量计算规范》GB50854～50862-2013及配套使用的广西清单实施细则(修订版)。 \r\n（四）、2013年《广西壮族自治区建筑装饰装修工程消耗量定额》及其计价相关规定、及其计价相关规定、2015年《广西壮族自治区安装工程消耗量定额》及其计价相关规定、2011年版《广西壮族自治区建筑工程拆除消耗量定额》及其计价相关规定、2013年版《广西壮族自治区安装拆除工程消耗量及费用定额》及其计价相关规定。 \r\n（五）、桂建标[2018]19号文关于调整建设工程定额人工费及有关费率的通知。 \r\n（六）、桂建标[2016]17号文《自治区住房城乡建设厅关于建筑业实施营业税改征值税后广西壮族自治区建设工程计价依据调整的通知》。 \r\n（七）、桂造价[2019]10号文《关于调整除税价计算适用增值税税率的通知》。\r\n\r\n\r\n三、本工程按《南宁市建设工程造价信息》南宁市2022年8月份下半月的价格计取，南宁信息价没有的按市场调查价。\r\n\r\n四、编制范围及其他说明：\r\n    工程量清单中，“余方弃置每增运1公里”项目的工程量暂按10KM考虑。\r\n\r\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
[null,"        投标报价合计"]
{"$rows_empty":28}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","纪委标准谈话室改造-拆除工程"]
["1.2","纪委标准谈话室改造-装饰工程"]
["1.3","纪委标准谈话室改造-安装工程"]
[null,"        投标报价合计"]
{"$rows_empty":25}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":84,"n_cols":4,"rows_kept":84,"merged":[[0,0,0,3],[1,0,1,2],[42,0,42,3],[43,0,43,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造",null,null,"第1页 共2页"]
["序号","汇总内容","金额(元)","备注"]
[null,"纪委标准谈话室改造-拆除工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"纪委标准谈话室改造-装饰工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"纪委标准谈话室改造-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造",null,null,"第2页 共2页"]
["序号","汇总内容","金额(元)","备注"]
["5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
["5","规费"]
["6","增值税"]
{"$rows_empty":34}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":391,"n_cols":8,"rows_kept":391,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[42,0,42,7],[43,0,43,5],[43,6,43,7],[44,0,46,0],[44,1,46,1],[44,2,46,2],[44,3,46,3],[44,4,46,4],[44,5,44,7],[45,5,46,5],[45,6,46,6],[85,0,85,7],[86,0,86,5],[86,6,86,7],[87,0,89,0],[87,1,89,1],[87,2,89,2],[87,3,89,3],[87,4,89,4],[87,5,87,7],[88,5,89,5],[88,6,89,6],[121,0,121,7],[122,0,122,5],[122,6,122,7],[123,0,125,0],[123,1,125,1],[123,2,125,2],[123,3,125,3],[123,4,125,4],[123,5,123,7],[124,5,125,5],[124,6,125,6],[157,0,157,7],[158,0,158,5],[158,6,158,7],[159,0,161,0],[159,1,161,1],[159,2,161,2],[159,3,161,3],[159,4,161,4],[159,5,159,7],[160,5,161,5],[160,6,161,6],[192,0,192,7],[193,0,193,5],[193,6,193,7],[194,0,196,0],[194,1,196,1],[194,2,196,2],[194,3,196,3],[194,4,196,4],[194,5,194,7],[195,5,196,5],[195,6,196,6],[232,0,232,7],[233,0,233,5],[233,6,233,7],[234,0,236,0],[234,1,236,1],[234,2,236,2],[234,3,236,3],[234,4,236,4],[234,5,234,7],[235,5,236,5],[235,6,236,6],[273,0,273,7],[274,0,274,5],[274,6,274,7],[275,0,277,0],[275,1,277,1],[275,2,277,2],[275,3,277,3],[275,4,277,4],[275,5,275,7],[276,5,277,5],[276,6,277,6],[311,0,311,7],[312,0,312,5],[312,6,312,7],[313,0,315,0],[313,1,315,1],[313,2,315,2],[313,3,315,3],[313,4,315,4],[313,5,313,7],[314,5,315,5],[314,6,315,6],[350,0,350,7],[351,0,351,5],[351,6,351,7],[352,0,354,0],[352,1,354,1],[352,2,354,2],[352,3,354,3],[352,4,354,4],[352,5,352,7],[353,5,354,5],[353,6,354,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第1页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"纪委标准谈话室改造-拆除工程"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011605002001","块料踢脚线拆除","㎡","2.71"]
[null,null,"原踢脚线高度15cm"]
["2","011601001001","开门洞及门洞加宽","","0.47"]
[null,null,"墙面开门洞，尺寸240*850*2050"]
[null,null,"入户门，门洞加宽至1000mm"]
["3","011610002001","金属门窗拆除","㎡","1.89"]
[null,null,"拆除部位:入户钢制防盗门"]
[null,null,"门窗洞口尺寸：900*2100"]
["4","011607001001","蹲坑地台拆除","","1.40"]
[null,null,"含地台砌筑、回填层及瓷砖面层"]
[null,null,"深度：400mm"]
[null,null,"部位：原男卫生间所有地台及女卫局部地台"]
["5","011601001002","台阶拆除","","0.14"]
[null,null,"含砌筑及瓷砖面层拆除"]
["6","011605001001","地面瓷砖拆除","㎡","6.81"]
[null,null,"原地面瓷砖拆除"]
["7","011605002002","墙面瓷砖拆除","㎡","40.12"]
[null,null,"墙面瓷砖铲除高度：3m"]
[null,null,"部位：原男卫生间全部墙面及女卫局部墙面"]
["8","011607002001","防水层拆除","㎡","15.97"]
[null,null,"旧防水层铲除"]
["9","011609002001","隔断拆除","㎡","17.67"]
[null,null,"原卫生间塑钢隔断拆除"]
["10","011610002002","卫生间门拆除","㎡","3.36"]
[null,null,"塑钢门拆除"]
["11","010103002001","建筑垃圾弃置","","5.00"]
[null,null,"1.废弃料品种:弃渣、装饰板材"]
[null,null,"2.运距:1KM内"]
[null,null,"3.加盖自卸汽车运渣 4.5T"]
["12","桂010103003001","弃渣运输增（减）m3·km","·km","45.00"]
[null,null,"1.运距增加：9KM"]
[null,null,"3 给排水、燃气工程拆除"]
["13","011612001001","给水管拆除","m","12.00"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第2页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["14","011612002001","蹲便器拆除","套","3"]
["15","011612002002","立柱式洗手盆拆除","套","2"]
["16","011612002003","小便斗拆除","个","3"]
["17","011613001001","灯具拆除","套","4"]
[null,null,"拆除原房间灯具"]
["18","011612001002","电线线槽拆除","m","55.00"]
[null,null,"原房间电线线槽拆除"]
["19","011613001002","开关、插座拆除","套","4"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
[null,"011702","混凝土模板及支架(撑)"]
[null,"011703","垂直运输"]
[null,"011704","超高施工增加"]
[null,"011705","大型机械设备进出场及安拆"]
[null,"011706","施工排水、降水"]
[null,"011708","混凝土运输及泵送费"]
[null,"011709","二次搬运费"]
[null,"011710","已完工程保护费"]
[null,"011711","夜间施工增加费"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第3页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"纪委标准谈话室改造-装饰工程"]
[null,null,"分部分项工程"]
[null,null,"A.3 砌筑工程"]
["20","010402001001","卫生间隔墙","","4.23"]
[null,null,"1.砖品种、规格、强度等级:蒸压加气砼砌块 590×200×200"]
[null,null,"2.墙体厚度:20cm"]
[null,null,"3.砂浆种类、强度等级:水泥石灰砂浆中砂M5"]
["21","010401004001","蹲坑地台","","2.76"]
[null,null,"1.砖品种、规格、强度等级:MU10 页岩标准砖 240×115×53 地台砖砌体"]
[null,null,"2.地台砖砌体厚度:120mm，砂浆种类、强度等级:水泥石灰砂浆中砂M7.5"]
[null,null,"3.砖壁20mm厚1:3水泥砂浆抹灰"]
[null,null,"4.坑内填方材料品种:人工回填炉渣400mm厚"]
[null,null,"5.找平层厚度、砂浆种类、配合比:50mm厚1:3水泥砂浆找平"]
[null,null,"6.面层材料品种、规格、颜色:8-10mm厚300x300防滑地砖铺贴"]
[null,null,"7.结合层厚度、砂浆种类、配合比:30mm厚1:4干硬性水泥砂浆结合层"]
[null,null,"8.嵌缝材料种类:素水泥擦缝"]
[null,null,"9.部位：谈话室配套卫生间及公共男卫"]
["22","010401004002","蹲坑地台恢复","","0.25"]
[null,null,"1.坑内填方材料品种:人工回填炉渣400mm厚"]
[null,null,"2.找平层厚度、砂浆种类、配合比:50mm厚1:3水泥砂浆找平"]
[null,null,"3.面层材料品种、规格、颜色:8-10mm厚300x300防滑地砖铺贴"]
[null,null,"4.结合层厚度、砂浆种类、配合比:30mm厚1:4干硬性水泥砂浆结合层"]
[null,null,"5.嵌缝材料种类:素水泥擦缝"]
[null,null,"6.部位：公共女卫"]
["23","011702027001","台阶","㎡","0.53"]
[null,null,"1.砖品种、规格、强度等级:MU10 多孔页岩砖 240×115×90 拖把池砖砌体"]
[null,null,"2.地台砖砌体厚度:120mm，砂浆种类、强度等级:水泥石灰砂浆中砂M7.5"]
[null,null,"3.面层材料品种、规格、颜色:8-10mm厚300x300防滑地砖铺贴"]
[null,null,"4.结合层厚度、砂浆种类、配合比:30mm厚1:4干硬性水泥砂浆结合层"]
[null,null,"5.嵌缝材料种类:素水泥擦缝"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第4页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"6.部位：公共男卫"]
[null,null,"A.7 屋面及防水工程"]
["24","010903002001","墙面涂膜防水","㎡","16.18"]
[null,null,"1.砂浆厚度、配合比:20mm厚 水泥防水砂浆(加防水粉5％) 1∶2"]
[null,null,"2.卷材品种、规格、厚度:聚氨酯防水1.5mm厚"]
[null,null,"3.防水层数: 两遍"]
[null,null,"4.防水层做法:素水泥浆 湿贴"]
[null,null,"5.高度：谈话室与卫生间间墙面1.5m，其余0.5m"]
[null,null,"A.9 楼地面工程"]
["25","011102003001","块料楼地面","㎡","2.63"]
[null,null,"1.面层材料品种、规格、颜色:8-10mm厚300x300防滑地砖铺贴"]
[null,null,"2.结合层厚度、砂浆种类、配合比:40mm厚1:4干硬性水泥砂浆结合层"]
[null,null,"3.嵌缝材料种类:素水泥擦缝"]
[null,null,"4.品牌参考或相当于“新中源”、“金意陶”、“卡诺尔”"]
[null,null,"5.款式由业主选定"]
["26","011101005001","自流坪楼地面","㎡","18.99"]
[null,null,"1.专业环氧自流平材料，地面自流平处理"]
[null,null,"2.地面湿式清洁、水性界面剂处理"]
[null,null,"3.环氧自流平，干燥达标后再次辊涂 界面剂"]
["27","011102003002","PVC地板胶","㎡","26.51"]
[null,null,"1.人工、辅料以及软质弹性聚氯乙烯板"]
[null,null,"2.2.0mm厚B1级阻燃聚氯乙烯，软质弹性；工业医用；同透底材质"]
[null,null,"3.铺设PVC地板、配套胶水铺贴固定于地面，墙角胶板无缝卷边上墙15公分做踢脚线；与墙体软包衔接"]
[null,null,"4.品牌：香港欧宝、德国宝丽、上海瑞丽龙"]
[null,null,"A.10 墙、柱面工程"]
["28","011201001001","墙面一般抹灰","㎡","21.90"]
[null,null,"1.内墙 混合砂浆 砖墙 (15+5)mm{水泥砂浆 1∶2}"]
["29","桂011203004001","踢脚线拆除后找平","m","17.18"]
[null,null,"1.面层材料种类:水泥砂浆 1∶2"]
["30","桂011204007001","卫生间墙砖铺贴","㎡","34.80"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第5页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.面层材料品种、规格、颜色:8-10mm厚300*600陶瓷内墙砖铺贴"]
[null,null,"2.结合层厚度、砂浆种类、配合比:20mm厚1:3水泥砂浆加水重20%建筑胶镶贴"]
[null,null,"3.缝宽、嵌缝材料种类: 缝宽3mm ， 素水泥浆嵌缝"]
[null,null,"4.墙砖铺贴高度：3m"]
[null,null,"5.品牌参考或相当于“新中源”、“金意陶”、“卡诺尔”"]
[null,null,"6.款式由业主选定"]
["31","011210005001","卫生间隔断安装","㎡","12.26"]
[null,null,"1.隔断材料品种、规格、颜色:12mm厚抗倍特板（B板）隔断  木纹面"]
[null,null,"2.配件品种、规格:304不锈钢五金配件"]
[null,null,"3.隔断高度：1.95m"]
[null,null,"4.款式由业主选定"]
["32","011207001001","墙面木龙骨基层","㎡","58.74"]
[null,null,"1.龙骨材料种类、规格、中距400mm；规格：30mm*40mm木龙骨;"]
[null,null,"2.备注：装修区域统一由学院做防治白蚁处理，施工方不涉及防白蚁处理"]
[null,null,"3.部位：做软包墙面；高度3000mm"]
["33","011207001002","墙面基层封10厘B1级阻燃防火板","㎡","58.74"]
[null,null,"1.基层材料种类、规格:10厘B1级阻燃防火板；"]
[null,null,"2.部位：做软包墙面；高度3000mm"]
[null,null,"3.品牌：参考和顺"]
["34","011207001003","墙面集成防撞软包","㎡","58.74"]
[null,null,"1.基层材料种类、规格:20mm厚高密度B1级阻燃聚乙烯醇发泡块"]
[null,null,"2.面层材料品种:包覆面厚2.0mm弹性阻燃汽车内饰件石英砂系列/PVC+无纺布2.0mm石英砂系列板,发泡性+玻纤维；软包模块与基层进行复合；合成规则软包板块"]
[null,null,"3.专业线条和工艺处理房间阳角、阴角部位，确保墙体拐角区域圆润"]
[null,null,"4.材料均为阻燃、环保、抗撕扯、耐老化、防水、易清洗，结构坚固"]
[null,null,"5.面层颜色：待定 （由采购方选定）"]
[null,null,"6.参考品牌：江苏亚泰、港源定制"]
["35","010903004001","墙面软包结构胶墙缝","m","78.00"]
[null,null,"1.软包墙面采用黑色结构胶接缝"]
["36","011207001004","墙面木质吸音板","㎡","13.64"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第6页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.18厘厚木质吸音板"]
[null,null,"2.参考品牌：“郝音”“格丽特”“建生”"]
["37","011207001005","铝塑板封窗","㎡","6.77"]
[null,null,"1.30mm*40mm木龙骨；内置隔音棉；10厘阻燃板打底+4厘铝塑板封窗户"]
[null,null,"2.参考品牌：“吉祥”“盛鑫”“飞浩”"]
[null,null,"A.11 天棚工程"]
["38","011302001001","铝扣板吊顶","㎡","23.61"]
[null,null,"1.轻钢龙骨600*600微孔铝扣板、厚度为0.8厚"]
[null,null,"2.包含角线、吊杆、主龙骨、副龙骨等"]
[null,null,"3.品牌：“联兴”“龙牌”“拓得利”"]
["39","011302001002","天棚隔音处理","㎡","23.61"]
[null,null,"1.定制50mm厚高密度阻燃吸音棉"]
[null,null,"A.12 门窗工程"]
["40","010802004001","定制防盗门甲级","㎡","3.94"]
[null,null,"1.定制防盗门甲级，规格尺寸：2050mm*960mm"]
[null,null,"2.品牌参考“顾家”“福达”“东盾”"]
["41","010802001001","防盗门内部软包处理","㎡","3.94"]
[null,null,"1.底板材料：20mm厚阻燃高密度聚乙烯醇"]
[null,null,"2.面层材料：无纺布或皮革面"]
[null,null,"3.门套及门扇均做软包处理，门拉手做特殊处理，边角收边做密封处理。"]
[null,null,"4.单面软包处理"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["42","011701006001","满堂脚手架","㎡","23.61"]
[null,"011702","混凝土模板及支架(撑)"]
[null,"011703","垂直运输"]
[null,"011704","超高施工增加"]
[null,"011705","大型机械设备进出场及安拆"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第7页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,"011706","施工排水、降水"]
[null,"011708","混凝土运输及泵送工程"]
[null,"011709","二次搬运"]
[null,"011710","已完工程保护费"]
[null,"011711","夜间施工增加费"]
[null,"011712","金属结构构件制作平台摊销"]
[null,"011713","地上、地下设施、建筑物的临时保护设施"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"纪委标准谈话室改造-安装工程"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
["43","030404017001","总配电箱","台","1"]
[null,null,"1.规格：300*400"]
[null,null,"2.箱内元件：3P63A空开1个，2P32A带漏空开4个，"]
[null,null,"1P16A空开1个，零线铜排，地线铜排"]
[null,null,"3.安装方式：距地1.6m安装"]
["44","030411001001","配管","m","85.00"]
[null,null,"1.PVC25线管 暗敷"]
["45","030411004001","照明线路","m","190.00"]
[null,null,"1.铜芯电线BV-2*2.5mm2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
["46","030411004002","插座线路","m","110.00"]
[null,null,"1.铜芯电线BV-3*4mm2，管内敷设"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第8页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
["47","030411004003","空调线路","m","67.50"]
[null,null,"1.铜芯电线BV-5*10mm2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂能”“胜宇”"]
["48","030404035001","五孔插座","套","8"]
[null,null,"1.单、三相暗插座 单相暗插座10A 5孔"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["49","030404035002","空调插座","套","1"]
[null,null,"1.单、三相暗插座 单相暗插座10A 5孔"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["50","030404034001","两位照明开关","套","2"]
[null,null,"1.跷板暗开关(单控) 双联"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["51","030404034002","三位照明开关","套","2"]
[null,null,"1.跷板暗开关(单控) 三联"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["52","030412001001","筒灯","套","3"]
[null,null,"1.嵌入式安装，12寸;品牌相当于或高于三雄极光"]
["53","030412001002","600*1200灯盘","套","4"]
[null,null,"1.安装方式：嵌入式安装；功率64W；色温4000K;光通量4860LM"]
[null,null,"2.品牌参照或相当于“三雄极光”“雷士”“欧普”"]
[null,null,"B7 通风空调工程"]
["54","030404033001","300*300排气扇","台","3"]
[null,null,"1.规格型号：220V  40W；300*300排气扇。"]
[null,null,"2.安装方式：吸顶安装；品牌相当于或优于“金玲”"]
["55","030702008001","新风系统排风管道 110","m","9.00"]
[null,null,"材质：纤维织物"]
[null,null,"参考品牌：联塑、雄塑、五一"]
["56","030413003001","排风管道开孔(打洞)","个","3"]
[null,null,"打洞部位材质：砖墙"]
[null,null,"开孔直径150mm以内"]
["57","011615001001","空调开孔(打洞)","个","1"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第9页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"打洞部位材质：砖墙"]
[null,null,"开孔直径100mm以内"]
["58","030703009001","塑料风口罩","个","6"]
[null,null,"1.外墙管道风口罩，PVC材质"]
[null,null,"B9 给排水、燃气工程"]
["59","031004003001","硅胶防撞洗手台","套","1"]
[null,null,"1.厂家定制硅胶防撞洗手台。"]
[null,null,"2.硅胶铸模，台面硅胶覆盖，下部带防撞软包柜体，可安装检修口；洗手盆采用陶瓷洗手盆"]
[null,null,"3.产品尺寸：常规尺寸或定制"]
[null,null,"3.品牌参照或相当于“景丽伦”“星美”“福喜多”"]
["60","桂031004020001","洗手台下水、龙头","个","1"]
[null,null,"1.安装特殊下水器、按键式龙头"]
["61","031004003002","洗脸盆","套","2"]
[null,null,"陶瓷立柱式洗脸盆"]
[null,null,"款式由业主选定"]
[null,null,"部位：男女公卫"]
["62","031004006001","特殊防撞蹲厕","套","1"]
[null,null,"1.硅胶铸模，硅胶覆盖蹲厕；"]
[null,null,"2.带感应功能"]
[null,null,"2.品牌参照或相当于“景丽伦”“星美”“福喜多”"]
["63","031004007001","感应小便斗","套","1"]
[null,null,"陶瓷挂式小便斗（带感应器）"]
[null,null,"款式由业主选定"]
[null,null,"部位：男公卫"]
["64","031001006001","硬聚氯乙烯（PVC－U）给水管φ25","m","8.00"]
[null,null,"1.连接形式:粘接连接"]
[null,null,"2.品牌参照或相当于“雄塑”“联塑”“五一”"]
["65","031001006002","硬聚氯乙烯（PVC－U）给水管φ40","m","15.00"]
[null,null,"1.连接形式:粘接连接"]
[null,null,"2.品牌参照或相当于“雄塑”“联塑”“五一”"]
["66","031001006003","PVC-U塑料排水管及管件安装(粘接连接) dn50","m","15.00"]
[null,null,"1.材质、规格:硬聚氯乙烯(PVC－U)排水管 De50"]
[null,null,"2.连接形式:粘接连接"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":5},"第10页 共10页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"3.品牌参照或相当于“雄塑”“联塑”“五一”"]
["67","031001006004","PVC-U塑料排水管及管件安装(粘接连接) dn110","m","10.00"]
[null,null,"1.材质、规格:硬聚氯乙烯(PVC－U)排水管 De110"]
[null,null,"2.连接形式:粘接连接"]
[null,null,"3.品牌参照或相当于“雄塑”“联塑”“五一”"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[]
[]
[]
[]
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":36,"n_cols":7,"rows_kept":36,"merged":[[0,0,0,6],[1,0,1,4],[5,3,6,3],[8,3,13,3],[16,3,19,3],[22,3,24,3],[34,0,34,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"纪委标准谈话室改造-拆除工程"]
["一",null,"建筑拆除工程(营改增)简易计税法"]
["2","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["4","桂011801003001","雨季施工增加费"]
["二",null,"安装拆除工程(营改增)简易计税法"]
["1","桂031401001002","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["1.1",null,"环境保护费"]
["1.2",null,"文明施工费"]
["1.3",null,"安全施工费"]
["1.4",null,"临时设施费"]
["3","桂031401003002","雨季施工增加费"]
[null,null,"纪委标准谈话室改造-装饰工程"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"纪委标准谈话室改造-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"      合     计"]
{"$rows_empty":8}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-12_其他项目清单与计价汇总表","index":8,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2],[41,0,41,2]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造   ",null,null,"第1页 共1页"]
["序号","项目名称","金额（元）","备注"]
[null,"纪委标准谈话室改造-拆除工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"纪委标准谈话室改造-装饰工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"纪委标准谈话室改造-安装工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"            合           计"]
{"$rows_empty":19}
["注:材料暂估单价进入清单综合单价，此处不汇总。",null,null,"表－12"]

{"sheet":"表-14_税前项目清单与计价表","index":9,"n_rows":43,"n_cols":7,"rows_kept":43,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[41,0,41,6],[42,0,42,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"纪委标准谈话室改造-拆除工程"]
["1","01B001","原男卫拖把池拆除","个","1"]
[null,null,"含砌筑及池槽饰面拆除"]
[null,null,"               合             计"]
{"$rows_empty":32}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":10,"n_rows":77,"n_cols":5,"rows_kept":77,"merged":[[0,0,0,4],[1,0,1,3],[6,2,11,2],[12,2,13,2],[14,2,19,2],[22,2,29,2],[30,2,35,2],[37,0,37,4],[38,0,38,3],[43,2,49,2],[55,2,62,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造",{"$nulls":3},"第1页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"纪委标准谈话室改造-拆除工程"]
["一","建筑拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
["二","安装拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造",{"$nulls":3},"第2页 共2页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"纪委标准谈话室改造-装饰工程"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"纪委标准谈话室改造-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
{"$rows_empty":11}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料价格表(打勾部分)","index":11,"n_rows":82,"n_cols":6,"rows_kept":82,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造",{"$nulls":3},"第1页  共2页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,"000301000","建筑装饰人工","元"]
[2,"R0101001","建筑综合工日(一类)","工日"]
[3,"R09001","安装拆除工日","元"]
[4,"020101002","PVC汽车内饰件石英砂系列/PVC+无纺布2.0mm","㎡"]
[5,"030156001","膨胀螺栓","套"]
[6,"030183001","铁钉(综合)","kg"]
[7,"032118013","镀锌全螺纹吊杆Φ6","m"]
[8,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[9,"040103001","白水泥(综合)","t"]
[10,"040301003","细砂",""]
[11,"040301004","中砂",""]
[12,"040902004","石灰膏",""]
[13,"041302001","多孔页岩砖 240×115×90","千块"]
[14,"041504004","蒸压加气砼砌块 590×200×200",""]
[15,"050301003","一等杉木枋材",""]
[16,"050501008","胶合板 9mm","㎡"]
[17,"050901002","10厘B1级阻燃防火板","㎡"]
[18,"050901002","大芯板 12mm","㎡"]
[19,"070103005","300*600内墙砖","㎡"]
[20,"070501003","300x300防滑地砖","㎡"]
[21,"070501012","300x300防滑地砖","㎡"]
[22,"072901007","PVC地板胶","㎡"]
[23,"090101005","槽木吸音板","㎡"]
[24,"090503001","铝板 600×600","㎡"]
[25,"091301001","铝塑板(室内) 4mm","㎡"]
[26,"112301001","定制防盗门甲级","㎡"]
[27,"130308001","聚氨酯甲料","kg"]
[28,"130516001","环氧底漆","kg"]
[29,"130516002","环氧面漆","kg"]
[30,"130516003","环氧中层漆","kg"]
[31,"143504015","聚氨酯乙料","kg"]
[32,"144101005","建筑胶","kg"]
[33,"144108001","乳白胶","kg"]
[34,"144113002","玻璃胶 310g","支"]
[35,"144114001","密封胶","kg"]
[36,"150704001","50mm厚高密度阻燃隔音棉","㎡"]
[37,"150704001","隔音棉","㎡"]
[38,"151313003","20mm高密度阻燃海绵","㎡"]
[]
["主要材料及价格表"]
["工程名称:广西交通职业技术学院纪委标准谈话室改造",{"$nulls":3},"第2页  共2页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"151313003","20mm厚高密度（密度值55值以上）B1级阻燃聚乙烯醇","㎡"]
[40,"350302001","回转扣件","个"]
[41,"350302002","对接扣件","个"]
[42,"350302003","直角扣件","个"]
[43,"350307002","竹脚手板","㎡"]
[44,"172500000","PVC-U塑料排水管φ110（管件组合）","m"]
[45,"172500000","PVC-U塑料排水管φ50（管件组合）","m"]
[46,"172501000","硬聚氯乙烯（PVC－U）给水管φ25","m"]
[47,"172501000","硬聚氯乙烯（PVC－U）给水管φ40","m"]
[48,"180903000","塑料给水管件","个"]
[49,"180904000","承插塑料管件","个"]
[50,"211501000","特殊防撞蹲厕","个"]
[51,"211701000","挂式小便器","个"]
[52,"212502000","蹲式大便器高水箱","个"]
[53,"213301000","水嘴","个"]
[54,"213301000","特殊洗手台下水、龙头","个"]
[55,"213312000","感应控制器","套"]
[56,"213316001","自闭式冲洗阀 DN15","个"]
[57,"213320000","大便器冲洗管","根"]
[58,"213326001","蹲式大便器高水箱配件","套"]
[59,"224107000","正压送风口、排烟口","个"]
[60,"224503000","柔性软风管","m"]
[61,"500102001","轴流排气扇","台"]
[62,"550117001","总配电箱","台"]
[63,"Z210901000","硅胶防撞洗手台","个"]
[64,"Z210901000","洗脸盆","个"]
[65,"Z250001001.3","筒灯","套"]
[66,"Z250001001","600*1200LED平板灯盘","套"]
[67,"Z260501001","三位照明开关","个"]
[68,"Z260501001","照明开关","个"]
[69,"Z264101001","成套插座","套"]
[70,"Z280301000","铜芯电线BV-2*2.5mm2","m"]
[71,"Z280301000","铜芯电线BV-3*4mm2","m"]
[72,"Z280301000","铜芯电线BV-5*10mm2","m"]
[73,"Z290635003","套接管","m"]
[74,"000301001","机械台班人工费","元"]
[75,"140301004","国V汽油 92#","kg"]