{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-12_其他项目清单与计价汇总表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(全部工料机)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",{"$nulls":4},"复 核 时 间："]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","昆仑校区北区食堂三楼屋面、墙面更换及防腐工程","第1页 共1页"]
["一、工程概况：昆仑校区北区食堂三楼屋面、墙面更换及防腐工程。\r\n二、招标控制价编制计价依据：\r\n（1）《建设工程工程量清单计价规范》（GB50500-2013）；\r\n（2）《<建设工程工程量清单计价规范>（GB50500-2013）广西壮族自治区实施细则》；\r\n（3）《建设工程工程量计算规范》（GB50854～50862-2013）；\r\n（4）《建设工程工程量计算规范（GB50854～50862-2013）广西壮族自治区实施细则》（修订版）；\r\n（5）2013年《广西壮族自治区建筑装饰装修工程消耗量定额》及其配套费用定额；\r\n（6）2011年《广西壮族自治区建筑拆除工程消耗量定额》及其配套费用定额。\r\n三、费率：\r\n （1）本工程综合费率按相关费用定额有关规定计取。\r\n  (2) 增值税税率按(桂建标【2019】10号文）规定进行调整。\r\n （3）定额人工费、管理费率按桂建标（桂建标字【2018】19号）规定进行调整。\r\n （4）本工程措施项目中的安全施工增加费、文明施工增加费、环境保护费、临时设施费等四项按桂建质【2006】22号计取及南建质按[2013]22文件要求执行。\r\n （5）建筑安装工程劳动保险费按（桂政发（2012）42号）文件要求执行。\r\n （6）《南宁建设工程造价信息》2019年第04期，缺项参考建材信息或市场询价；对于造价信息没有发布价格信息的材料，例如瓷砖，其价格参照南宁市场中档产品价。\r\n四、其他说明：\r\n （1）垃圾运距：按15km；\r\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","昆仑校区北区食堂三楼屋面、墙面更换及防腐工程"]
[null,"        投标报价合计"]
{"$rows_empty":27}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1.1","昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-拆除工程"]
["1.1.2","昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-土建工程"]
[null,"        投标报价合计"]
{"$rows_empty":26}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程",null,null,"第1页 共1页"]
["序号","汇总内容","金额(元)","备注"]
[null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-拆除工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-土建工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
["5","规费"]
["6","增值税"]
[]
[]
[]
[]
[]
[]
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":125,"n_cols":8,"rows_kept":125,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[42,0,42,7],[43,0,43,5],[43,6,43,7],[44,0,46,0],[44,1,46,1],[44,2,46,2],[44,3,46,3],[44,4,46,4],[44,5,44,7],[45,5,46,5],[45,6,46,6],[83,0,83,7],[84,0,84,5],[84,6,84,7],[85,0,87,0],[85,1,87,1],[85,2,87,2],[85,3,87,3],[85,4,87,4],[85,5,85,7],[86,5,87,5],[86,6,87,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程 ",{"$nulls":5},"第1页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-拆除工程"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011606002001","墙柱面龙骨及饰面拆除","㎡","504.00"]
[null,null,"1.人工拆除墙面"]
[null,null,"2.人工搬运下楼至指定地点堆放"]
[null,null,"3.作业面在11m至15m高墙面"]
["2","011606003001","天棚面龙骨及饰面拆除","㎡","900.00"]
[null,null,"1.人工拆除屋面"]
[null,null,"2.人工搬运下楼至指定地点堆放"]
[null,null,"3.作业面在15m至17m高屋面"]
["3","010103002001","垃圾弃置","","61.20"]
[null,null,"1.运距:1KM"]
[null,null,"2.拆除垃圾及建筑垃圾运输至弃置场"]
["4","桂010103003001","垃圾运输增（减）m3·km","·km","856.80"]
[null,null,"1.运距:14KM"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
[null,"011702","混凝土模板及支架(撑)"]
[null,"011703","垂直运输"]
[null,"011704","超高施工增加"]
[null,"011705","大型机械设备进出场及安拆"]
[null,"011706","施工排水、降水"]
[null,"011708","混凝土运输及泵送费"]
[null,"011709","二次搬运费"]
[null,"011710","已完工程保护费"]
[null,"011711","夜间施工增加费"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程 ",{"$nulls":5},"第2页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-土建工程"]
[null,null,"分部分项工程"]
[null,null,"A.6 金属结构工程"]
["5","010603001001","实腹钢柱","t","1.240"]
[null,null,"1.柱类型:H型钢墙面支撑"]
[null,null,"2.钢材品种、规格:HN100×50"]
[null,null,"3.含结构构件运输 运距 1km以内"]
[null,null,"4.红丹防锈漆 金属面 一遍"]
[null,null,"5.作业面在11m至15m高墙面"]
["6","010605002001","钢板墙板","㎡","504.00"]
[null,null,"1.材质：铝锡合金隔热防火彩钢瓦夹芯板"]
[null,null,"2.厚度：10cm 上层厚0.467mm、下层厚0.467mm"]
[null,null,"3.含搬运上楼及安装"]
[null,null,"4.作业面在11m至15m高墙面"]
["7","010605001001","钢板楼板","㎡","900.00"]
[null,null,"1.材质：铝锡合金隔热防火彩钢瓦夹芯板"]
[null,null,"2.厚度：10cm 上层厚0.467mm、下层厚0.467mm"]
[null,null,"3.含搬运上楼及安装"]
[null,null,"4.作业面在15m至17m高屋面"]
[null,null,"A.12 门窗工程"]
["8","010808004001","金属门窗套","㎡","21.12"]
[null,null,"1.窗户彩钢瓦包边"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["9","011404014001","木地板油漆","㎡","799.20"]
[null,null,"1.部位：三层地面木地板"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程 ",{"$nulls":5},"第3页 共3页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.一底一面"]
[null,null,"2.品牌：相当于或不低于“多乐士”牌子"]
[null,null,"A.14 其他装饰工程"]
["10","011502001001","屋檐包边","m","130.00"]
[null,null,"1.部位：屋檐"]
[null,null,"2.锯齿形10CM宽"]
["11","011502001002","屋脊包边","m","45.00"]
[null,null,"1.部位：屋脊"]
[null,null,"2.锯齿形1M宽"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[]
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":39,"n_cols":7,"rows_kept":39,"merged":[[0,0,0,6],[1,0,1,4],[5,3,6,3],[9,3,12,3],[37,0,37,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-拆除工程"]
["一",null,"建筑拆除工程(营改增)简易计税法"]
["2","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["4","桂011801003001","雨季施工增加费"]
[null,null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-土建工程"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"      合     计"]
{"$rows_empty":23}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-12_其他项目清单与计价汇总表","index":8,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2],[41,0,41,2]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程   ",null,null,"第1页 共1页"]
["序号","项目名称","金额（元）","备注"]
[null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-拆除工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-土建工程"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
[null,"            合           计"]
{"$rows_empty":25}
["注:材料暂估单价进入清单综合单价，此处不汇总。",null,null,"表－12"]

{"sheet":"表-14_税前项目清单与计价表","index":9,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[40,0,40,6],[41,0,41,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程 ",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-土建工程"]
["1","01B001","云梯车","台","1"]
[null,null,"               合             计"]
{"$rows_empty":32}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":10,"n_rows":38,"n_cols":5,"rows_kept":38,"merged":[[0,0,0,4],[1,0,1,3],[6,2,11,2],[12,2,13,2],[14,2,19,2],[23,2,29,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程",{"$nulls":3},"第1页 共1页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-拆除工程"]
["一","建筑拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"昆仑校区北区食堂三楼屋面、墙面更换及防腐工程-土建工程"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合          计"]
[]
[]
[]
[]
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(全部工料机)","index":11,"n_rows":95,"n_cols":6,"rows_kept":95,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5],[84,0,84,5],[85,0,85,2],[85,4,85,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程",{"$nulls":3},"第1页  共3页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000301000","建筑装饰人工","元"]
[3,"R0101001","建筑综合工日(一类)","工日"]
[4,null,"◆材料◆"]
[5,"010310002","镀锌铁丝 Φ4","kg"]
[6,"010501001","钢丝绳(综合)","kg"]
[7,"012901001","钢板(综合)","t"]
[8,"012914007","钢垫板(综合)","t"]
[9,"014902001","角铝(综合)","m"]
[10,"014904002","工字铝 75mm","m"]
[11,"022706004","白布 0.9m","㎡"]
[12,"022901001","麻袋","条"]
[13,"022902001","麻绳","kg"]
[14,"022902007","杂麻绳","kg"]
[15,"030101001","铆钉(综合)","百个"]
[16,"030108001","自攻螺钉","百个"]
[17,"030124004","紧固螺钉","个"]
[18,"030125001","螺栓（综合）","kg"]
[19,"031311001","电焊条（综合）","kg"]
[20,"031347002","砂纸(木)","张"]
[21,"040903001","石膏粉","kg"]
[22,"050102006","周转圆木(支撑)",""]
[23,"050301001","一等杉木板枋材(综合)",""]
[24,"050304004","二等松杂板枋材(综合)",""]
[25,"050306001","周转板枋材",""]
[26,"050901004","大芯板 18mm","㎡"]
[27,"052502007","垫木",""]
[28,"090505003","彩钢瓦","㎡"]
[29,"090508012","包角彩板","㎡"]
[30,"091103001","彩钢夹心板 100mm(成品)","㎡"]
[31,"120305002","铝合金压条 16×1.5mm","m"]
[32,"120305002","铝合金压条1M宽","m"]
[33,"130102002","有色调和漆","kg"]
[34,"130118001","酚醛清漆","kg"]
[35,"130312002","大白粉","kg"]
[36,"130507002","红丹防锈漆","kg"]
[37,"140101001","清油","kg"]
[38,"140103002","熟桐油","kg"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程",{"$nulls":3},"第2页  共3页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"140501003","油漆溶剂油","kg"]
[40,"143306006","酒精","kg"]
[41,"143506001","催干剂","kg"]
[42,"143901001","乙炔气",""]
[43,"143906001","氧气",""]
[44,"144113002","玻璃胶 310g","支"]
[45,"341508001","其他材料费","元"]
[46,"350907003","钢支架摊销","kg"]
[47,null,"◆机械台班组成◆"]
[48,"000301001","机械台班人工费","元"]
[49,"140304001","轻柴油 0#","kg"]
[50,"341103001","电","kW.h"]
[51,"994701003","停滞费","元"]
[52,"994701004","折旧费","元"]
[53,"994701005","大修理费","元"]
[54,"994701006","经常修理费","元"]
[55,"994701007","安拆及场外运输费","元"]
[56,"994701008","其他费用","元"]
[57,"C1403001","轻柴油0#","kg"]
[58,"J00000001","折旧费","元"]
[59,"J00000002","大修理费","元"]
[60,"J00000003","经常修理费","元"]
[61,"J00000005","停滞费","元"]
[62,"J00000006","其他费用","元"]
[63,"R0800001","机械台班工日","工日"]
[64,null,"◆机械◆"]
[65,"990707004","平板拖车组[装载质量20t]","台班"]
[66,"990708002","轨道平车[装载质量8t]","台班"]
[67,"990902003","门式起重机[提升质量20t]","台班"]
[68,"990903007","汽车式起重机[提升质量25t]","台班"]
[69,"991518002","刨边机[加工长度 12000mm]","台班"]
[70,"991901001","H型钢组立机","台班"]
[71,"991902002","翼缘校正机","台班"]
[72,"991903002","多辊板料校平机[厚度×宽度16×2000mm]","台班"]
[73,"991906009","剪板机[厚度×宽度 40×3100(mm)]","台班"]
[74,"991909003","摇臂钻床[钻孔直径 63mm]","台班"]
[75,"992501002","交流电弧焊机[容量30kVA]","台班"]
[76,"992501004","交流电弧焊机[容量40kVA]","台班"]
[]
["主要材料及价格表"]
["工程名称:昆仑校区北区食堂三楼屋面、墙面更换及防腐工程",{"$nulls":3},"第3页  共3页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[77,"992701002","电焊条烘干箱[容积55×45×55(c)]","台班"]
[78,"992702001","恒温箱","台班"]
[79,"994301005","电动空气压缩机[排气量10/min]","台班"]
[80,"994508001","电锤 520W","台班"]
[81,"994701001","其他机械费","元"]
[82,"J01040104","轮胎式装载机[斗容量2]","台班"]
[83,"J04010203","自卸汽车[装载质量4.5t]","台班"]
[84,null,"#### 合 计 ####"]