{"text_format":"3","workbook":"xls","n_sheets":11,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-02_建设项目投标报价汇总表","表-03_单项工程投标报价汇总表","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-14_税前项目清单与计价表","表-15_规费、增值税计价表","主要材料及价格表(全部工料机)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西交通职业技术学院"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[null,null,"广西万安工程咨询有限公司"]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年10月08日"]
[null,"软件名称及版本号：博奥清单计价软件V17（版本号：17.0.01）\r\n工程计价软件测评合格编号：2016J02"]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":49,"n_cols":9,"rows_kept":49,"merged":[[3,1,3,6],[7,1,7,7],[16,2,17,4],[16,6,17,8],[17,0,17,1],[18,2,18,4],[18,6,18,8],[24,0,24,1],[24,2,25,4],[24,6,25,8],[25,0,25,1],[26,2,26,4],[26,6,26,8],[32,2,33,4],[32,6,33,8],[33,0,33,1],[34,2,34,4],[34,6,34,8],[41,0,41,1],[41,2,41,4],[41,6,41,8],[46,2,46,7]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,"2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西交通职业技术学院",{"$nulls":3},"广西万安工程咨询有限公司"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年10月08日",null,null,"复 核 时 间："]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮","第1页 共1页"]
["一、工程概况：本工程位于广西交通职业技术学院园湖校区。\r\n\r\n  \r\n二、编制依据:\r\n（一）、业主提供的相关资料。\r\n（二）、《建设工程工程量清单计价规范》GB50500-2013及配套使用的广西清单实施细则。 \r\n（三）、《建设工程工程量计算规范》GB50854～50862-2013及配套使用的广西清单实施细则(修订版)。 \r\n（四）、2013年《广西壮族自治区建筑装饰装修工程消耗量定额》及其计价相关规定、及其计价相关规定、2015年《广西壮族自治区安装工程消耗量定额》及其计价相关规定、2011年版《广西壮族自治区建筑工程拆除消耗量定额》及其计价相关规定、2013年版《广西壮族自治区安装拆除工程消耗量及费用定额》及其计价相关规定。 \r\n（五）、桂建标[2018]19号文关于调整建设工程定额人工费及有关费率的通知。 \r\n（六）、桂建标[2016]17号文《自治区住房城乡建设厅关于建筑业实施营业税改征值税后广西壮族自治区建设工程计价依据调整的通知》。 \r\n（七）、桂造价[2019]10号文《关于调整除税价计算适用增值税税率的通知》。\r\n\r\n\r\n三、本工程按《南宁市建设工程造价信息》南宁市2022年8月份的价格计取，南宁信息价没有的按市场调查价。\r\n四、其他说明：原旧线路拆除以料抵工（含灯具、配电箱及开关插座拆除），不另计费用。\r\n\r\n\r\n\r\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-02_建设项目投标报价汇总表","index":3,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[1,4,1,4],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["建设项目投标报价汇总表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第1页 共1页"]
["序号","单项工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
[null,"        投标报价合计"]
{"$rows_empty":28}
[{"$nulls":4},"表-02"]

{"sheet":"表-03_单项工程投标报价汇总表","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"merged":[[0,0,0,4],[1,0,1,3],[1,4,1,4],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,2,4],[3,3,4,3]],"flags":["formulas_cached_only"]}
["单项工程投标报价汇总表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第1页 共1页"]
["序号","单位工程名称","金额(元)","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明"]
[{"$nulls":4},"施工费"]
["1.1","科技与对外合作部装修-拆除工程"]
["1.2","科技与对外合作部装修-装饰工程"]
["1.3","科技与对外合作部装修-安装工程"]
["1.4","大礼堂改造部分"]
["1.5","卫生间改造部分"]
[null,"        投标报价合计"]
{"$rows_empty":23}
[{"$nulls":4},"表-03"]

{"sheet":"表-04_单位工程投标报价汇总表","index":5,"n_rows":84,"n_cols":4,"rows_kept":84,"merged":[[0,0,0,3],[1,0,1,2],[42,0,42,3],[43,0,43,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",null,null,"第1页 共2页"]
["序号","汇总内容","金额(元)","备注"]
[null,"科技与对外合作部装修-拆除工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
[" 5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
[null,"科技与对外合作部装修-装饰工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"科技与对外合作部装修-安装工程"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"大礼堂改造部分"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
[null,null," ","表-04"]
["单位工程投标报价汇总表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",null,null,"第2页 共2页"]
["序号","汇总内容","金额(元)","备注"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"卫生间改造部分"]
["1","分部分项工程和单价措施项目清单计价合计"]
[" 1.1","  其中:暂估价"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
[null,"工程项目汇总"]
["1","分部分项工程和单价措施项目清单计价合计"]
["1.1","其中:暂估价"]
["2","总价措施项目清单计价合计"]
["2.1","其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费、税金项目清单计价合计"]
["5.1","其中:增值税"]
["6","工程总造价=1+2+3+4+5"]
["5","规费"]
["6","增值税"]
{"$rows_empty":14}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":565,"n_cols":8,"rows_kept":565,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[43,0,43,7],[44,0,44,5],[44,6,44,7],[45,0,47,0],[45,1,47,1],[45,2,47,2],[45,3,47,3],[45,4,47,4],[45,5,45,7],[46,5,47,5],[46,6,47,6],[84,0,84,7],[85,0,85,5],[85,6,85,7],[86,0,88,0],[86,1,88,1],[86,2,88,2],[86,3,88,3],[86,4,88,4],[86,5,86,7],[87,5,88,5],[87,6,88,6],[120,0,120,7],[121,0,121,5],[121,6,121,7],[122,0,124,0],[122,1,124,1],[122,2,124,2],[122,3,124,3],[122,4,124,4],[122,5,122,7],[123,5,124,5],[123,6,124,6],[157,0,157,7],[158,0,158,5],[158,6,158,7],[159,0,161,0],[159,1,161,1],[159,2,161,2],[159,3,161,3],[159,4,161,4],[159,5,159,7],[160,5,161,5],[160,6,161,6],[198,0,198,7],[199,0,199,5],[199,6,199,7],[200,0,202,0],[200,1,202,1],[200,2,202,2],[200,3,202,3],[200,4,202,4],[200,5,200,7],[201,5,202,5],[201,6,202,6],[239,0,239,7],[240,0,240,5],[240,6,240,7],[241,0,243,0],[241,1,243,1],[241,2,243,2],[241,3,243,3],[241,4,243,4],[241,5,241,7],[242,5,243,5],[242,6,243,6],[277,0,277,7],[278,0,278,5],[278,6,278,7],[279,0,281,0],[279,1,281,1],[279,2,281,2],[279,3,281,3],[279,4,281,4],[279,5,279,7],[280,5,281,5],[280,6,281,6],[316,0,316,7],[317,0,317,5],[317,6,317,7],[318,0,320,0],[318,1,320,1],[318,2,320,2],[318,3,320,3],[318,4,320,4],[318,5,318,7],[319,5,320,5],[319,6,320,6],[357,0,357,7],[358,0,358,5],[358,6,358,7],[359,0,361,0],[359,1,361,1],[359,2,361,2],[359,3,361,3],[359,4,361,4],[359,5,359,7],[360,5,361,5],[360,6,361,6],[399,0,399,7],[400,0,400,5],[400,6,400,7],[401,0,403,0],[401,1,403,1],[401,2,403,2],[401,3,403,3],[401,4,403,4],[401,5,401,7],[402,5,403,5],[402,6,403,6],[440,0,440,7],[441,0,441,5],[441,6,441,7],[442,0,444,0],[442,1,444,1],[442,2,444,2],[442,3,444,3],[442,4,444,4],[442,5,442,7],[443,5,444,5],[443,6,444,6],[480,0,480,7],[481,0,481,5],[481,6,481,7],[482,0,484,0],[482,1,484,1],[482,2,484,2],[482,3,484,3],[482,4,484,4],[482,5,482,7],[483,5,484,5],[483,6,484,6],[522,0,522,7],[523,0,523,5],[523,6,523,7],[524,0,526,0],[524,1,526,1],[524,2,526,2],[524,3,526,3],[524,4,526,4],[524,5,524,7],[525,5,526,5],[525,6,526,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第1页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"科技与对外合作部装修-拆除工程"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["1","011605002001","立面块料拆除","㎡","7.84"]
[null,null,"原踢脚线拆除"]
[null,null,"1.拆除的基层类型:"]
[null,null,"2.饰面材料种类:"]
["2","011610002001","防盗门拆除","㎡","2.80"]
[null,null,"1.拆除部位:入户钢制防盗门"]
[null,null,"2.门窗洞口尺寸:1400*2000"]
["3","011610002002","铁门拆除","㎡","2.57"]
[null,null,"原旧铁门拆除"]
[null,null,"1.室内高度:"]
[null,null,"2.门窗洞口尺寸:"]
["4","011610002002","金属门窗拆除","㎡","82.53"]
[null,null,"旧铝合金窗拆除"]
["5","011608001001","铲除油漆面","㎡","195.90"]
[null,null,"1.铲除墙面腻子涂料层至砂浆面层"]
["6","011613001001","空调拆除","台","2"]
[null,null,"1.空调种类:落地式5匹柜机"]
["7","011613001002","灯具拆除","套","16"]
[null,null,"1.原吊扇拆除"]
[null,null,"1.拆除灯具高度:"]
[null,null,"2.灯具种类:"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
[null,"011702","混凝土模板及支架(撑)"]
[null,"011703","垂直运输"]
[null,"011704","超高施工增加"]
[null,"011705","大型机械设备进出场及安拆"]
[null,"011706","施工排水、降水"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第2页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,"011708","混凝土运输及泵送费"]
[null,"011709","二次搬运费"]
[null,"011710","已完工程保护费"]
[null,"011711","夜间施工增加费"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"科技与对外合作部装修-装饰工程"]
[null,null,"分部分项工程"]
[null,null,"A.3 砌筑工程"]
["8","010401012001","地台","","0.29"]
[null,null,"1.地台规格:4500*2500*150mm高"]
[null,null,"2.砖品种、规格、强度等级:MU10 多孔砖240*115*90"]
[null,null,"3.砂浆种类、强度等级:水泥石灰砂浆中砂M5"]
[null,null,"4.外侧抹灰找平：混合砂浆 1∶0.5∶3"]
[null,null,"5.地台内回填混凝土垫层找平：150mm厚 C20 普通商品砼"]
[null,null,"A.9 楼地面工程"]
["9","011104002001","竹、木(复合)地板","㎡","255.45"]
[null,null,"1.基层材料种类、规格:泡沫防潮纸"]
[null,null,"2.面层材料品种、规格、颜色:12mm厚强化复合木地板"]
[null,null,"3.款式由业主选定"]
["10","011105005001","木质踢脚线","㎡","6.53"]
[null,null,"A.10 墙、柱面工程"]
["11","011201001001","墙面一般抹灰","㎡","15.00"]
[null,null,"1.门窗洞及部分墙柱面水泥砂浆抹灰"]
[null,null,"2.内墙 水泥砂浆 砖墙 (15+5)mm{水泥砂浆 1∶2}"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第3页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["12","011207001001","墙裙装饰板","㎡","35.37"]
[null,null,"1.龙骨材料种类、规格、中距:木龙骨骨架 中距400"]
[null,null,"2.基层材料种类、规格:12mm胶合板基层"]
[null,null,"3.面层材料品种、规格、颜色:12mm厚集成板饰面"]
[null,null,"4.软包款式由业主选定"]
[null,null,"5.部位：窗台下墙面"]
["13","011207001002","背景墙造型","㎡","29.82"]
[null,null,"1.龙骨材料种类、规格、中距:75轻钢龙骨架 中距400"]
[null,null,"2.基层材料种类、规格:12mm胶合板基层"]
[null,null,"3.面层材料品种、规格、颜色:9.5mm厚普通纸面石膏板"]
[null,null,"4.嵌缝材料种类:防开裂嵌缝膏嵌缝"]
["14","011208001001","柱面装饰","㎡","39.60"]
[null,null,"1.龙骨材料种类、规格、中距:木龙骨架基层"]
[null,null,"2.基层材料种类、规格:胶合板 12mm"]
[null,null,"3.面层材料品种、规格、颜色:12mm厚集成板饰面"]
[null,null,"4.压条材料种类、规格:50*50木质收口条"]
[null,null,"A.11 天棚工程"]
["15","011302001001","造型吊顶","㎡","255.45"]
[null,null,"1.吊顶形式、吊杆规格、高度:跌级吊顶 不上人型"]
[null,null,"2.龙骨材料种类、规格、中距: U型38卡式主骨 50副骨 中距400mm"]
[null,null,"3.基层材料种类、规格:9mm厚胶合板基层"]
[null,null,"4.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,null,"5.嵌缝材料种类:防开裂嵌缝膏嵌缝"]
["16","011304001001","天棚灯带","㎡","85.00"]
[null,null,"1.灯带型式、尺寸:悬挑式灯槽 直型"]
[null,null,"2.基层材料种类、规格:12mm厚大芯板基层"]
[null,null,"3.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
["17","011304001002","背景墙灯带","㎡","4.20"]
[null,null,"1.灯带型式、尺寸:悬挑式灯槽 直型"]
[null,null,"2.基层材料种类、规格:12mm厚大芯板基层"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第4页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"3.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
["18","010810002001","木窗帘盒","m","39.30"]
[null,null,"1.基层材料种类、规格:18mm大芯板基层"]
[null,null,"2.面层材料品种、规格:9.5mm厚普通纸面石膏板"]
[null,null,"A.12 门窗工程"]
["19","010802001001","铁门定制安装（成品）","㎡","2.57"]
[null,null,"1.门框、扇材质及规格:970*2650"]
[null,null,"2.含制作、安装、运输及五金配件"]
["20","010802001002","铝合金地弹门（单开）","㎡","1.80"]
[null,null,"1.门框、扇材质及规格:900*2000 铝材壁厚1.4mm，"]
[null,null,"2.玻璃品种、厚度:10mm厚磨砂钢化玻璃"]
[null,null,"3.含制作、安装、运输及五金配件"]
["21","010802004001","钢制防盗门（双开）","㎡","2.80"]
[null,null,"1.门框、扇材质及规格:1400*2000 甲级"]
[null,null,"2.含制作、安装、运输及五金配件"]
[null,null,"3.品牌相当于 “富新”“王力”“春天”"]
["22","桂010811002001","门窗周边塞缝","m","5.40"]
[null,null,"1.塞缝材料种类:水泥砂浆 1∶2.5"]
["23","010809004001","石材窗台板","㎡","5.90"]
[null,null,"1.窗台面板材质、规格、颜色:16mm厚黑白根大理石窗台板"]
[null,null,"2.铺贴方式：湿贴 水泥砂浆 1∶2.5"]
[null,null,"3.石材磨边 半圆边"]
["24","010801001001","背景墙装饰隐藏门","㎡","1.89"]
[null,null,"1.规格：900*2100"]
[null,null,"2.做法:木龙骨骨架，12mm胶合板基层双面，9.5mm厚普通纸面石膏板面层双面"]
[null,null,"3.含制作、安装、运输及五金配件"]
["25","010807001001","铝合金推拉窗（窗洞面积≥2㎡）","㎡","58.95"]
[null,null,"1.框、扇材质:铝型材 1.4mm壁厚 96系列"]
[null,null,"2.玻璃品种、厚度:6厘钢化白玻"]
["26","010807001002","铝合金固定窗（窗洞面积＜2㎡）","㎡","23.58"]
[null,null,"1.框、扇材质:铝型材 1.4mm壁厚 96系列"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第5页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"2.玻璃品种、厚度:6厘钢化白玻"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["27","011406003001","满刮腻子","㎡","195.90"]
[null,null,"1.部位:室内墙面、墙面灯带"]
[null,null,"2.腻子种类:环保型内墙腻子"]
[null,null,"3.刮腻子遍数:二遍"]
[null,null,"4.品牌参考“多乐士”“嘉宝莉”“立邦”"]
["28","011406003002","天棚满刮腻子","㎡","310.00"]
[null,null,"1.部位:天棚吊顶、灯带、窗帘盒"]
[null,null,"2.腻子种类:环保型内墙腻子"]
[null,null,"3.刮腻子遍数:二遍"]
[null,null,"4.品牌参考“多乐士”“嘉宝莉”“立邦”"]
["29","011407001001","墙面喷（刷）涂料","㎡","195.90"]
[null,null,"1.部位:室内墙面、墙面灯带"]
[null,null,"2.涂料种类:环保型内墙净味乳胶漆"]
[null,null,"3.喷刷遍数:二遍"]
[null,null,"4.品牌参考“多乐士”“嘉宝莉”“立邦”"]
["30","011407002001","天棚喷（刷）涂料","㎡","310.00"]
[null,null,"1.部位:天棚吊顶、灯带、窗帘盒"]
[null,null,"2.涂料种类:环保型内墙净味乳胶漆"]
[null,null,"3.喷刷遍数:二遍"]
[null,null,"4.品牌参考“多乐士”“嘉宝莉”“立邦”"]
[null,null,"A.14 其他装饰工程"]
["31","010810005001","窗帘轨","m","39.30"]
[null,null,"1.铝合金窗帘轨（单轨）"]
["32","011502001001","木地板收口压条","m","13.30"]
[null,null,"30mm宽弧形铝合金压条"]
["33","011503001001","金属扶手、栏杆、栏板","m","40.00"]
[null,null,"材质：304不锈钢，高度：50cm"]
[null,null,"横管：方管30*30，间距50cm"]
[null,null,"竖管：方管20*20，管间距10cm"]
[null,null,"双面做烤漆处理"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第6页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[null,"011701","脚手架工程"]
["34","桂011701004001","内装修脚手架","㎡","255.54"]
[null,null,"高度3.6 图书馆三楼"]
[null,"011702","混凝土模板及支架(撑)"]
[null,"011703","垂直运输"]
[null,"011704","超高施工增加"]
[null,"011705","大型机械设备进出场及安拆"]
[null,"011706","施工排水、降水"]
[null,"011708","混凝土运输及泵送工程"]
[null,"011709","二次搬运"]
[null,"011710","已完工程保护费"]
[null,"011711","夜间施工增加费"]
[null,"011712","金属结构构件制作平台摊销"]
[null,"011713","地上、地下设施、建筑物的临时保护设施"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"科技与对外合作部装修-安装工程"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
["35","030404017001","总配电箱","台","1"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第7页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.规格：800*600"]
[null,null,"2.箱内元件：100A断路器1个，防雷保护器带防雷后背保护装置一套，3P32A空开4个，2P25A带漏空开4个，"]
[null,null,"2P16A空开5个，零线铜排，地线铜排"]
[null,null,"3.安装方式：距地1.6m安装"]
["36","030404017002","空调开关箱","台","4"]
[null,null,"1.规格：铁底、塑面、喷塑 7～9位  暗装"]
[null,null,"2.箱内元件：3P25A空开1个，零线铜排，地线铜排"]
[null,null,"3.安装方式：距地0.3m安装"]
[null,"030408","电缆安装"]
["37","030411002001","金属桥架及配件安装 MR100*100 δ=1.5mm","m","45.00"]
[null,null,"1.沿墙、楼板、梁底敷设"]
[null,null,"2.防火桥架"]
[null,null,"3.品牌：参照或相当于“乔顿”"]
["38","030413001001","金属桥架支架制作、安装","kg","15.10"]
[null,null,"1.支架材质：角钢 30*3"]
["39","031201003001","桥架支架刷油","kg","15.10"]
[null,null,"1.刷油要求：刷防锈漆两遍，调和漆两遍"]
["40","030408001001","铜芯电力电缆 ZR-YJY-1KV-4X25+1X16","m","60.00"]
[null,null,"1.电缆品牌相当于或优于“阳工”“桂南”“家友”品牌"]
[null,null,"2.安装方式：桥架敷设"]
["41","030408006001","户内干包式电力电缆终端头 ZR-YJY-1KV-4X25+1X16","个","2"]
["42","030411001001","配管","m","280.00"]
[null,null,"1.PVC25线管 暗敷"]
["43","桂030411007001","包塑金属软管 φ20","根","90"]
[null,null,"1.软管长度L=1m"]
[null,null,"2.吊顶内敷设"]
["44","030411004001","照明线路","m","560.00"]
[null,null,"1.铜芯电线BV-2*2.5mm2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂南”“胜宇”"]
["45","030411004002","插座线路","m","480.00"]
[null,null,"1.铜芯电线BV-3*4mm2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂南”“胜宇”"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第8页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["46","030411004003","空调线路","m","380.00"]
[null,null,"1.铜芯电线BV-5*4mm2，管内敷设"]
[null,null,"2.品牌相当于“阳工”“桂南”“胜宇”"]
["47","030404035001","地插","套","4"]
[null,null,"1.单、三相暗插座 埋地单相安全插座10A"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["48","030404035002","五孔插座","套","32"]
[null,null,"1.单、三相暗插座 单相暗插座10A 5孔"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["49","030404034001","三位照明开关","套","8"]
[null,null,"1.跷板暗开关(单控) 三联"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["50","030412005001","灯带","m","72.48"]
[null,null,"LED灯带 安装"]
[null,null,"2.品牌相当于“欧普”“雷士”“飞利浦”"]
["51","030412004001","筒灯","套","60"]
[null,null,"1.筒灯 LED光源 1*15W安装 嵌入式"]
[null,null,"2.品牌相当于“欧普”“雷士”“飞利浦”"]
["52","030413002001","凿(压)槽及恢复","m","235.00"]
[null,null,"1.凿槽、刨沟  砖结构（公称管径32mm以内）"]
[null,null,"2.所凿沟槽恢复  沟槽尺寸（公称管径32mm以内）{水泥砂浆 1∶2.5}"]
[null,"030502","综合布线系统工程"]
["53","030502005001","六类网线","m","560.00"]
[null,null,"1.敷设方式:管内敷设"]
["54","030502012001","信息插座","个","18"]
[null,null,"1.单口网络插座 86型"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第9页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"大礼堂改造部分"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["55","011608001001","铲除油漆面","㎡","150.00"]
[null,null,"铲除部位：大礼堂舞台两侧墙面"]
[null,null,"铲除腻子涂料层至砂浆面层"]
[null,null,"A.9 楼地面工程"]
["56","011104001001","地毯楼地面","㎡","120.00"]
[null,null,"1.面层材料品种、规格、颜色:舞台地毯5.0mm厚"]
[null,null,"2.颜色由业主选定"]
[null,null,"A.13 油漆、涂料、裱糊工程"]
["57","011406003001","满刮腻子","㎡","120.00"]
[null,null,"1.墙面满刮环保腻子两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
[null,null,"3.部位：礼堂舞台两侧墙面"]
["58","011407001001","墙面喷（刷）涂料","㎡","120.00"]
[null,null,"1.天棚涂刷环保净味深灰色面漆两遍"]
[null,null,"2.品牌参考“多乐士”“嘉宝莉”“立邦”"]
[null,null,"3.部位：礼堂舞台两侧墙面"]
[null,null,"B4 电气设备安装工程"]
["59","030404035001","五孔插座","套","4"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第10页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.单、三相暗插座 单相暗插座10A 5孔"]
[null,null,"2.品牌相当于 “公牛”“TCL”“西门子”"]
["60","030411002001","塑料线槽安装39*19mm","m","36.00"]
[null,null,"配置形式及部位：沿墙或板明敷设"]
[null,null,"品牌：参照或相当于“雄塑”"]
["61","030411004001","插座线路","m","180.00"]
[null,null,"1.铜芯电线BV-3*4mm2，线槽内敷设"]
[null,null,"2.品牌相当于“阳工”“桂南”“胜宇”"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
["62","桂011701004001","内装修脚手架","㎡","150.00"]
[null,null,"礼堂舞台两侧 高度9m"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"卫生间改造部分"]
[null,null,"分部分项工程"]
[null,null,"G.1 人工拆除工程"]
["63","011605001001","地砖拆除","㎡","16.17"]
[null,null,"1.饰面材料种类:"]
["64","011605002001","墙砖拆除","㎡","35.22"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第11页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"1.饰面材料种类:"]
["65","011607002001","防水层拆除","㎡","35.22"]
[null,null,"1.防水层种类:"]
["66","011609002001","隔断拆除","㎡","9.30"]
[null,null,"1.拆除隔墙的饰面种类:抗倍特板隔断"]
["67","011610001001","木窗拆除","扇","2"]
[null,null,"1.原木窗拆除"]
[null,null,"3 给排水、燃气工程拆除"]
["68","011612002001","蹲便器拆除","套","4"]
[null,null,"1.卫生洁具种类:陶瓷蹲便器"]
["69","011612002002","小便器拆除","套","2"]
[null,null,"1.卫生洁具种类:陶瓷小便器"]
["70","011612002003","立柱式洗手盆拆除","套","1"]
[null,null,"1.卫生洁具种类:陶瓷立柱洗手盆"]
["71","011612001001","给水管拆除","m","35.00"]
[null,null,"1.管道种类、材质:PPR-De25给水管"]
[null,null,"A.7 屋面及防水工程"]
["72","010903002001","墙面涂膜防水","㎡","24.13"]
[null,null,"1.防水膜品种:聚氨酯防水涂料"]
[null,null,"2.涂膜厚度:1.5mm厚"]
[null,null,"3.防水涂刷高度:1.2m高"]
["73","010904002001","楼(地)面涂膜防水","㎡","15.10"]
[null,null,"1.防水膜品种:聚氨酯防水涂料"]
[null,null,"2.涂膜厚度:1.5mm厚"]
[null,null,"3.反边高度:100mm"]
[null,null,"4.防水保护层 20mm厚 平面{水泥防水砂浆(加防水粉5％) 1∶2}"]
[null,null,"A.9 楼地面工程"]
["74","011102003001","块料楼地面","㎡","13.09"]
[null,null,"1.结合层厚度、砂浆种类、配合比:40mm厚1:4干硬性水泥砂浆结合层"]
[null,null,"2.面层材料品种、规格、颜色:300*300防滑地砖"]
[null,null,"3.嵌缝材料种类:美缝剂美缝"]
[null,null,"A.10 墙、柱面工程"]
["75","桂011204007001","块料墙面","㎡","55.90"]
[null,null,"1.结合层厚度、砂浆种类、配合比:20mm厚1:3水泥砂浆加建筑胶水"]
[null,null,"2.面层材料品种、规格、颜色:内墙砖300*600"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第12页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"3.嵌缝材料种类:美缝剂美缝"]
[null,null,"4.瓷砖款式由业主选定"]
["76","011210005001","卫生间隔断安装","㎡","9.30"]
[null,null,"含制作、安装及运输"]
[null,null,"1.隔断材料品种、规格、颜色:12mm厚2代康贝特B板"]
[null,null,"2.配件品种、规格。:门边、拉杆为铝合金材质，其余配件为不锈钢材质"]
[null,null,"3.含制作、安装及运输"]
[null,null,"4.颜色有业主选定"]
[null,null,"A.11 天棚工程"]
["77","011302001001","吊顶天棚","㎡","15.30"]
[null,null,"1.龙骨材料种类、规格、中距:轻钢龙骨架基层（不上人型）"]
[null,null,"2.面层材料品种、规格:600*600*0.8铝扣板吊顶"]
[null,null,"3.压条材料种类、规格:25mm*25mm*1.0mm厚铝合金角线"]
[null,null,"A.12 门窗工程"]
["78","010807001001","87系列铝合金推拉窗（＜2㎡）","㎡","2.00"]
[null,null,"1.框、扇材质:铝合金壁厚不小于1.4mm"]
[null,null,"2.玻璃品种、厚度:6mm厚浮法玻璃"]
[null,null,"3.含制作、运输、安装、五金配件等"]
[null,null,"B4 电气设备安装工程"]
["79","030411001001","PVC硬塑料穿线管","m","45.00"]
[null,null,"规格： φ20*1.5中型"]
["80","030411004001","BV-2*2.5mm2铜芯电线","m","30.00"]
[null,null,"管内敷设"]
[null,null,"品牌参考或相当于“桂南”“阳工”“家友”"]
["81","030412001001","球形吸顶灯","套","1"]
[null,null,"规格：1*28W φ300"]
[null,null,"安装方式：吸顶安装"]
[null,null,"品牌参考或相当于“欧普”"]
["82","030412005001","600*600LED灯盘","套","2"]
[null,null,"规格：LED光源 1*48W 600*600平板灯"]
[null,null,"安装方式：嵌入式安装"]
[null,null,"品牌参考或相当于“欧普”"]
["83","030108003001","排气扇安装","台","2"]
[null,null,"规格：300*300*38W"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第13页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"品牌参考或相当于“金羚”"]
["84","030404034001","照明开关  一位开关","套","1"]
[null,null,"规格：220V 10A"]
[null,null,"安装方式：明装"]
["85","030404034002","照明开关 三位开关","套","1"]
[null,null,"规格：220V 10A",null,"2"]
[null,null,"安装方式：明装"]
[null,null,"B9 给排水、燃气工程"]
["86","031004006001","蹲便器安装","套","4"]
[null,null,"规格：520*420*200"]
[null,null,"品牌参照或相当于“四季红”“惠达”“摩恩”洁具"]
["87","031004007001","陶瓷立式小便器安装","套","2"]
[null,null,"明装感应控制器及配件"]
[null,null,"品牌参照或相当于“宛陶”“惠达”“摩恩”洁具"]
["88","031004003001","立柱式洗手盆","套","1"]
[null,null,"尺寸：490*410*285"]
[null,null,"品牌参照或相当于“卓浴”“欧菲克”“摩恩”洁具"]
["89","031004008001","拖把池安装","套","1"]
[null,null,"材质：陶瓷 规格：49*35*50"]
[null,null,"品牌参考或相当于“国米”“达莎莎”"]
["90","031001006001","室内PP-R塑料给水管及管件安装  de32","m","10.00"]
[null,null,"连接方式：热熔连接"]
[null,null,"公称压力：1.25MPa"]
[null,null,"含管道试压、消毒冲洗"]
[null,null,"品牌：参照或相当于雄塑"]
["91","031001006002","室内PP-R塑料给水管及管件安装  de20","m","5.00"]
[null,null,"连接方式：热熔连接"]
[null,null,"公称压力：1.25MPa"]
[null,null,"含管道试压、消毒冲洗"]
[null,null,"品牌：参照或相当于雄塑"]
["92","030703005001","截止阀","个","1"]
[null,null,"规格：铜杆PPR截止阀φ32"]
["93","桂031004020001","水龙头","个","2"]
[null,null,"材质：不锈钢全铜水龙头 de25"]
[]
[null,null,"     小    计"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":5},"第14页 共14页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     总 合 计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":12}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":7,"n_rows":70,"n_cols":7,"rows_kept":70,"merged":[[0,0,0,6],[1,0,1,4],[5,3,6,3],[8,3,13,3],[16,3,19,3],[22,3,24,3],[27,3,30,3],[32,0,32,6],[34,0,34,6],[35,0,35,4],[37,3,39,3],[41,3,42,3],[45,3,48,3],[50,3,52,3],[54,3,55,3],[57,3,62,3],[68,0,68,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮   ",{"$nulls":5},"第1页 共2页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
[null,null,"科技与对外合作部装修-拆除工程"]
["一",null,"建筑拆除工程(营改增)简易计税法"]
["2","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["4","桂011801003001","雨季施工增加费"]
["二",null,"安装拆除工程(营改增)简易计税法"]
["1","桂031401001002","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["1.1",null,"环境保护费"]
["1.2",null,"文明施工费"]
["1.3",null,"安全施工费"]
["1.4",null,"临时设施费"]
["3","桂031401003002","雨季施工增加费"]
[null,null,"科技与对外合作部装修-装饰工程"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
[null,null,"科技与对外合作部装修-安装工程"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
[null,null,"大礼堂改造部分"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
["二",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]
["总价措施项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮   ",{"$nulls":5},"第2页 共2页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金 额(元)","备注"]
["1","桂031401001002","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002002","检验试验配合费"]
["3","桂031401003002","雨季施工增加费"]
["三",null,"建筑拆除工程(营改增)简易计税法"]
["1","桂011801001003","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["3","桂011801003003","雨季施工增加费"]
[null,null,"卫生间改造部分"]
["一",null,"建筑装饰装修工程(营改增)一般计税法"]
["1","桂011801001001","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["2","桂011801002001","检验试验配合费"]
["3","桂011801003001","雨季施工增加费"]
["4","桂011801004001","工程定位复测费"]
["二",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001002","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002002","检验试验配合费"]
["3","桂031401003002","雨季施工增加费"]
["三",null,"建筑拆除工程(营改增)简易计税法"]
["1","桂011801001003","安全文明施工费","∑(分部分项人材机+单价措施人材机)"]
["3","桂011801003003","雨季施工增加费"]
["四",null,"安装拆除工程(营改增)简易计税法"]
["1","桂031401001004","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["1.1",null,"环境保护费"]
["1.2",null,"文明施工费"]
["1.3",null,"安全施工费"]
["1.4",null,"临时设施费"]
["3","桂031401003004","雨季施工增加费"]
[null,null,"      合     计"]
[]
[]
[]
[]
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-14_税前项目清单与计价表","index":8,"n_rows":83,"n_cols":7,"rows_kept":83,"merged":[[0,0,0,6],[1,0,1,4],[1,5,1,6],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,6],[3,5,4,5],[3,6,4,6],[39,0,39,6],[40,0,40,4],[41,0,41,6],[42,0,42,4],[42,5,42,6],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,43,6],[44,5,45,5],[44,6,45,6],[81,0,81,6],[82,0,82,4]],"flags":["formulas_cached_only"]}
["税前项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":4},"第1页 共2页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
[null,null,"科技与对外合作部装修-拆除工程"]
["1","01B001","家具清理搬运","项","1"]
[null,null,"1.电脑桌48张，椅子96张；"]
[null,null,"2.所有家具搬运下地；"]
[null,null,"3.装车运至指定位置堆放，场外运输，含上楼人工"]
[null,null,"4.运至位置：暂定昆仑校区内"]
[null,null,"1.废弃料品种:"]
[null,null,"2.运距:"]
["2","01B002","吊扇搬运","项","1"]
[null,null,"吊扇搬运至指定位置堆放（校内仓库，运距1KM内）"]
[null,null,"1.废弃料品种:"]
[null,null,"2.运距:"]
["3","010103002001","建筑垃圾弃置","车","1"]
[null,null,"1.废弃料品种:弃渣、装饰板材"]
[null,null,"科技与对外合作部装修-装饰工程"]
["4","010810001001","窗帘","m","39.30"]
[null,null,"1.窗帘材质:遮光布"]
[null,null,"2.窗帘高度、宽度:3.3m高"]
[null,null,"3.窗帘层数:单层"]
[null,null,"4.褶皱比1:2，按窗口宽度计算"]
[null,null,"5.具体样式由业主选定。"]
["5","011304001003","亚克力板灯槽","㎡","18.00"]
[null,null,"1.灯槽做法：木龙骨骨架"]
[null,null,"2.阻燃板基层 12mm"]
[null,null,"3.喷刷白色乳胶漆二遍"]
[null,null,"4.内嵌LED灯条（2条并列安装）"]
[null,null,"5.亚克力透光板罩面0.5mm厚"]
[null,null,"6.含制作及安装"]
["6","01B001","铝合金玻璃隔断定制安装","㎡","12.75"]
[null,null,"1.做法：墙厚100mm，铝材壁厚1.4mm，"]
[null,null,"2.下部位：双面18mm免漆板饰面，"]
[null,null,"3.上部位：10mm厚磨砂钢化玻璃，主席台方向为10mm钢化白玻"]
[null,null,"4.含制作、运输及安装"]
[null,null,"5.款式参考“四楼会议”制作"]
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]
["税前项目清单与计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮 ",{"$nulls":4},"第2页 共2页"]
["序号","项目编码","项目名称及项目特征\r\n描述","计量单位","工程量","金  额(元)"]
[{"$nulls":5},"单价","合 价"]
[]
["7","01B002","背景墙水晶字定制（会议室）","项","1"]
[null,null,"规格：LOGOφ80一个，中文字高度620mm=10个，英文整体高度120mm=45个"]
[null,null,"10mm亚克力板，水晶字，UV印"]
[null,null,"款式参考“图书馆四楼会议室”做法"]
[null,null,"               合             计"]
{"$rows_empty":30}
["注：税前项目包含除增值税以外的所有费用。"]
[{"$nulls":6},"表-14"]

{"sheet":"表-15_规费、增值税计价表","index":9,"n_rows":189,"n_cols":5,"rows_kept":189,"merged":[[0,0,0,4],[1,0,1,3],[6,2,11,2],[12,2,13,2],[14,2,19,2],[22,2,29,2],[30,2,35,2],[37,0,37,4],[38,0,38,3],[43,2,49,2],[55,2,62,2],[67,2,73,2],[76,0,76,4],[77,0,77,3],[82,2,89,2],[93,2,98,2],[99,2,100,2],[101,2,106,2],[110,2,111,2],[113,0,113,4],[114,0,114,3],[116,2,120,2],[125,2,132,2],[136,2,141,2],[142,2,143,2],[144,2,148,2],[150,0,150,4],[151,0,151,3],[156,2,163,2],[164,2,169,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第1页 共5页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"科技与对外合作部装修-拆除工程"]
["一","建筑拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
["二","安装拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第2页 共5页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
[null,"科技与对外合作部装修-装饰工程"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"科技与对外合作部装修-安装工程"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"大礼堂改造部分"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第3页 共5页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
["二","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
["三","建筑拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"卫生间改造部分"]
["一","建筑装饰装修工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第4页 共5页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["1.1.2","失业保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费","∑(分部分项人材机+单价措施人材机)"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
["二","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
["三","建筑拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金","分部分项及单价措施工程费+总价措施项目费+其他项目费"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
[{"$nulls":4},"表-15"]
["规费、增值税计价表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第5页 共5页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["2.5","水利建设基金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["四","安装拆除工程(营改增)简易计税法"]
["1","规费","1+2+3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","税金","分部分项及单价措施工程费+总价措施项目费+其他项目费+税前项目费+规费"]
["2.1","增值税"]
["2.2","城市维护建设税"]
["2.3","教育附加费"]
["2.4","地方教育附加费"]
["2.5","水利建设基金"]
[null,"       合          计"]
{"$rows_empty":17}
[{"$nulls":4},"表-15"]

{"sheet":"主要材料及价格表(全部工料机)","index":10,"n_rows":389,"n_cols":6,"rows_kept":389,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5],[84,0,84,5],[85,0,85,2],[85,4,85,5],[126,0,126,5],[127,0,127,2],[127,4,127,5],[168,0,168,5],[169,0,169,2],[169,4,169,5],[210,0,210,5],[211,0,211,2],[211,4,211,5],[252,0,252,5],[253,0,253,2],[253,4,253,5],[294,0,294,5],[295,0,295,2],[295,4,295,5],[336,0,336,5],[337,0,337,2],[337,4,337,5],[378,0,378,5],[379,0,379,2],[379,4,379,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第1页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000301000","建筑装饰人工","元"]
[3,"000501000","安装人工","元"]
[4,"010000100","安装人工","元"]
[5,"R0101001","建筑综合工日(一类)","工日"]
[6,"R09001","安装拆除工日","元"]
[7,null,"◆材料◆"]
[8,"010301002","钢丝 Φ1.6","kg"]
[9,"010310001","镀锌铁丝(综合)","kg"]
[10,"010903001","圆钢HPB300 Φ10以内(综合)","kg"]
[11,"011301001","扁钢(综合)","t"]
[12,"012901031","中厚钢板 4.1～20mm","t"]
[13,"014101004","铜丝 Φ1.6","kg"]
[14,"015302003","铅板 3mm","kg"]
[15,"015303002","封铅 含铅 65% 含锡 35%","kg"]
[16,"020101002","橡胶板 2mm","㎡"]
[17,"020101009","橡胶板 1～3mm","kg"]
[18,"021301001","塑料带 20mm×40m","卷"]
[19,"021303001","聚四氟乙烯生料带 宽20mm","m"]
[20,"021308001","绷带","m"]
[21,"022705004","棉纱头","kg"]
[22,"022706004","白布 0.9m","㎡"]
[23,"022706010","破布","kg"]
[24,"030108001","自攻螺钉","百个"]
[25,"030110003","镀锌自攻螺钉 M4～6×20～35","个"]
[26,"030112001","木螺钉","百个"]
[27,"030112005","木螺钉 m2～4×6～65","个"]
[28,"030112013","木螺钉 M4×60","个"]
[29,"030112018","木螺钉 M6×50","个"]
[30,"030113002","镀锌木螺钉 M4.5～6×15～100","个"]
[31,"030119001","机螺钉","kg"]
[32,"030126011","螺栓 M6×100","套"]
[33,"030127034","镀锌螺栓 M10×100","套"]
[34,"030127035","镀锌螺栓 M10×100","套"]
[35,"030156001","膨胀螺栓","套"]
[36,"030156001","膨胀螺栓","套"]
[37,"030156005","膨胀螺栓 M6","套"]
[38,"030156012","膨胀螺栓 M8","套"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第2页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"030156014","膨胀螺栓 M8×65","套"]
[40,"030156016","膨胀螺栓 M8×80","套"]
[41,"030156018","膨胀螺栓 M10","套"]
[42,"030156026","膨胀螺栓 M12","套"]
[43,"030168004","镀锌锁紧螺母 20","个"]
[44,"030171101","螺母","百个"]
[45,"030172001","垫圈","百个"]
[46,"030172003","垫圈 M2~8","10个"]
[47,"030182005","塑料胀管 Φ6~8","颗"]
[48,"030183001","铁钉(综合)","kg"]
[49,"030183005","钢钉","kg"]
[50,"030188001","射钉","百个"]
[51,"030188004","射钉(枪钉)","盒"]
[52,"031301005","砂轮片 Φ200","片"]
[53,"031301006","砂轮片 Φ400","片"]
[54,"031301006","砂轮片 400","片"]
[55,"031302001","尼龙砂轮片 100","片"]
[56,"031304001","碟形钢丝砂轮片 100","片"]
[57,"031311001","电焊条（综合）","kg"]
[58,"031311002","电焊条 结422Φ2.5~3.2","kg"]
[59,"031321001","焊锡丝  综合","kg"]
[60,"031321003","焊锡","kg"]
[61,"031321003","焊锡","kg"]
[62,"031324001","不锈钢焊丝","kg"]
[63,"031332002","焊锡膏 瓶装50g","kg"]
[64,"031337001","冲击钻头（综合）","根"]
[65,"031337010","冲击钻头 Φ12","个"]
[66,"031337014","冲击钻头 Φ20","个"]
[67,"031338001","合金钢钻头(综合)","个"]
[68,"031338004","合金钢钻头 Φ10","个"]
[69,"031345001","钢锯条","根"]
[70,"031345004","石料切割锯片","片"]
[71,"031345007","钢割片","片"]
[72,"031347002","砂纸(木)","张"]
[73,"031347004","铁砂布","张"]
[74,"032116004","预埋铁件","kg"]
[75,"032118013","镀锌全螺纹吊杆Φ6","m"]
[76,"032118013","镀锌全螺纹吊杆Φ6","m"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第3页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[77,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[78,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[79,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[80,"040102004","普通硅酸盐水泥 42.5MPa","kg"]
[81,"040103001","白水泥(综合)","t"]
[82,"040301001","砂(综合)",""]
[83,"040301001","砂(综合)",""]
[84,"040301003","细砂",""]
[85,"040301004","中砂",""]
[86,"040902004","石灰膏",""]
[87,"040903001","石膏粉","kg"]
[88,"040904003","滑石粉","kg"]
[89,"041301002","页岩标准砖 240×115×53","块"]
[90,"041302001","多孔页岩砖 240×115×90","千块"]
[91,"042701004","预制砼块",""]
[92,"050101001","木材(综合)",""]
[93,"050301001","一等杉木板枋材(综合)",""]
[94,"050301003","一等杉木枋材",""]
[95,"050306001","周转板枋材",""]
[96,"050501004","12mm厚集成板","㎡"]
[97,"050501008","胶合板 9mm","㎡"]
[98,"050501009","胶合板 12mm","㎡"]
[99,"050901002","大芯板 12mm","㎡"]
[100,"050901004","大芯板 18mm","㎡"]
[101,"052502003","木砖",""]
[102,"052502006","锯木屑",""]
[103,"070103007","陶瓷墙面砖 500×500","㎡"]
[104,"070501003","300*300防滑地砖","㎡"]
[105,"072301003","12mm厚强化复合木地板","㎡"]
[106,"072901001","舞台地毯5.0mm厚","㎡"]
[107,"072901005","地毯烫带","m"]
[108,"080101002","16mm厚黑白根大理石","㎡"]
[109,"090101001","9.5mm厚普通纸面石膏板","㎡"]
[110,"090301002","12mm厚集成板饰面","㎡"]
[111,"090301003","9.5mm厚普通纸面石膏板","㎡"]
[112,"090503001","铝板 600×600*0.8mm厚","㎡"]
[113,"091501001","9.5mm厚普通纸面石膏板","㎡"]
[114,"093901006","12mm厚2代康贝特B板","㎡"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第4页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[115,"100101001","轻钢龙骨 75×50","kg"]
[116,"100101002","轻钢龙骨 75×40","kg"]
[117,"100102002","U型卡式主骨38*12*1mm","m"]
[118,"100102002","轻钢大龙骨 h45","m"]
[119,"100102003","副骨50*19*0.5mm","m"]
[120,"100102003","轻钢中龙骨 h19","m"]
[121,"100102004","轻钢小龙骨 h19","m"]
[122,"100102005","轻钢中龙骨横撑 h19","m"]
[123,"100102006","轻钢小龙骨横撑 h19","m"]
[124,"101301001","轻钢龙骨主接件","个"]
[125,"101301002","轻钢龙骨次接件","个"]
[126,"101301003","轻钢龙骨小接件","个"]
[127,"101302002","轻钢中龙骨平面连接件","个"]
[128,"101302003","轻钢小龙骨平面连接件","个"]
[129,"101302004","轻钢大龙骨垂直吊挂件","个"]
[130,"101302005","轻钢中龙骨垂直吊挂件","个"]
[131,"101302006","轻钢小龙骨垂直吊挂件","个"]
[132,"110301001","普通钢门(成品)","㎡"]
[133,"110906001","铝合金地弹簧门不带亮(成品)","㎡"]
[134,"110908001","铝合金推拉窗（窗洞面积≥2㎡）","㎡"]
[135,"110908001","铝合金推拉窗不带亮(成品)","㎡"]
[136,"110911001","铝合金固定窗（窗洞面积＜2㎡）","㎡"]
[137,"112301001","钢防盗门(成品)","㎡"]
[138,"112601001","铝合金窗帘轨(带支撑件 成品)","m"]
[139,"120114001","木质收口线条 50×25mm","m"]
[140,"120117001","木卡条 24×6","m"]
[141,"120302001","50*50木质收口条","m"]
[142,"120303001","25mm*25mm*1.0mm厚铝合金角线","m"]
[143,"120305002","30mm宽弧形铝合金压条","m"]
[144,"120306001","铝收口条","m"]
[145,"121101001","复合板踢脚板（成品）","㎡"]
[146,"130102001","调和漆(综合)","kg"]
[147,"130109001","酚醛磁漆(各种颜色)","kg"]
[148,"130132001","油灰","kg"]
[149,"130301001","乳胶漆","kg"]
[150,"130308001","聚氨酯甲料","kg"]
[151,"130311003","成品腻子粉（一般型）","kg"]
[152,"130312002","大白粉","kg"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第5页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[153,"130503001","沥青漆","kg"]
[154,"130519001","沥青绝缘漆","kg"]
[155,"130705002","铅油","kg"]
[156,"133503001","防水胶(310g/支)","支"]
[157,"133504001","防水粉","kg"]
[158,"133508002","嵌缝膏","kg"]
[159,"133901001","防腐油","kg"]
[160,"140301001","汽油 93#","kg"]
[161,"140702001","机油（综合）","kg"]
[162,"140901002","电力复合酯 一级","kg"]
[163,"142101001","环氧树脂","kg"]
[164,"142304004","银粉","kg"]
[165,"143124001","漂白粉","kg"]
[166,"143303001","硬酯酸 一级","kg"]
[167,"143305003","二甲苯","kg"]
[168,"143309001","丙酮","kg"]
[169,"143315001","羧甲基纤维素","kg"]
[170,"143504015","聚氨酯乙料","kg"]
[171,"143901002A","乙炔气","kg"]
[172,"143906001","氧气",""]
[173,"143908001","氩气",""]
[174,"144101005","建筑胶","kg"]
[175,"144102001","粘结剂","kg"]
[176,"144103005","903胶","kg"]
[177,"144108001","乳白胶","kg"]
[178,"144110002","202胶FSC-2","kg"]
[179,"144113002","玻璃胶 310g","支"]
[180,"144115001","万能胶","kg"]
[181,"144116003","胶合剂","kg"]
[182,"144301004","自粘性橡胶带 20mm×5m","卷"]
[183,"144306001","防水胶布","卷"]
[184,"144309002","塑料胶布带 20mm×10m","卷"]
[185,"144309004","塑料胶布带 25mm×10m","卷"]
[186,"151304004","泡沫防潮纸","㎡"]
[187,"170509004","不锈钢方管 □20×20×1.0 304材质","m"]
[188,"170509008","不锈钢方管 □30×30×1.0 304材质","m"]
[189,"170902001","方钢管 25×25×2.5","m"]
[190,"172502001","PP－R给水管 de20","m"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第6页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[191,"172504001","硬聚氯乙烯(PVC－U)排水管 De50","m"]
[192,"172513000","塑料软管","kg"]
[193,"172515001","软管 DN15 L=30～50cm","根"]
[194,"180327001","外丝 DN15","个"]
[195,"180907001","PVC转换接头 De50×40","个"]
[196,"180909001","内螺牙弯头 De20","个"]
[197,"182501001","塑料管卡 de20","个"]
[198,"182501003","塑料管卡 de32","个"]
[199,"182519002","固定卡子 3×80","套"]
[200,"200305000","不锈钢法兰座","个"]
[201,"213313001","角型阀(带铜活) DN15","个"]
[202,"213321000","大便器胶皮碗","个"]
[203,"213321001","便器接头 De130×110","个"]
[204,"213322001","存水弯 De32","个"]
[205,"213322005","存水弯 塑料 S型 DN50","个"]
[206,"213322008","小便器存水弯 塑料 De32","个"]
[207,"213322010","大便器塑料存水弯 DN100","个"]
[208,"213323001","洗脸盆下水口 De32","个"]
[209,"213325001","排水栓(带链堵) De50","套"]
[210,"213328000","洗脸盆托架","副"]
[211,"270601003","接地线 BV-5.5~16","m"]
[212,"271702001","绝缘黑胶布 20mm×20m","卷"]
[213,"280104002","镀锡裸铜绞线 TJX-16","kg"]
[214,"290621003","电线管接头 25","个"]
[215,"290628002","塑料护口 15～20","个"]
[216,"290628003","塑料护口 15～50","个"]
[217,"290628004","塑料护口（钢管用）15~20","个"]
[218,"290631007","电缆吊挂 3×50","套"]
[219,"290632012","灯具卡子","个"]
[220,"290901002","瓷接头 (双)","个"]
[221,"290905002","铜接线端子 DT-4mm2","个"]
[222,"290905005","铜接线端子 DT-16mm2","个"]
[223,"290905007","铜接线端子 DT-35mm2","个"]
[224,"291111001","开关盒","个"]
[225,"291112001","接线盒","个"]
[226,"292702006","尼龙扎带(综合)","个"]
[227,"330107003","镀锌圆钢支架 Φ10～14","套"]
[228,"340105003","钨棒","kg"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第7页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[229,"340701001","塑料手套 ST型","付"]
[230,"340702001","防尘面罩","套"]
[231,"340703001","护目镜","套"]
[232,"341101001","水",""]
[233,"341101001","水",""]
[234,"341301011","标志牌 塑料扁形","个"]
[235,"341508001","其他材料费","元"]
[236,"341508001","其他材料费","元"]
[237,"350302001","回转扣件","个"]
[238,"350302002","对接扣件","个"]
[239,"350302003","直角扣件","个"]
[240,"350303001","脚手架焊接钢管 Φ48.3×3.6","t"]
[241,"350305001","金属脚手架底座","个"]
[242,"350307002","竹脚手板","㎡"]
[243,"351101001","钢凿","个"]
[244,"370905001","钢垫板","kg"]
[245,"B-C.1"," 材料费","元"]
[246,"C00010160","其他材料费","元"]
[247,null,"◆商品砼◆"]
[248,"043104003","碎石 GD40  商品普通砼  C20",""]
[249,null,"◆配合比◆"]
[250,"800102001","水泥砂浆 1∶1",""]
[251,"800102003","水泥砂浆 1∶2",""]
[252,"800102004","水泥砂浆 1∶2.5",""]
[253,"800102005","水泥砂浆 1∶3",""]
[254,"800102006","水泥砂浆 1∶4",""]
[255,"800301004","水泥石灰砂浆中砂M5",""]
[256,"800501006","混合砂浆 1∶1∶6",""]
[257,"800501008","混合砂浆 1∶0.5∶3",""]
[258,"800702002","水泥防水砂浆(加防水粉5％) 1∶2",""]
[259,"801101001","素水泥浆",""]
[260,null,"◆主材◆"]
[261,"042702006","盖板","m"]
[262,"172502000","PP－R给水管 de32","m"]
[263,"172502000","PP－R给水管de20","m"]
[264,"180903000","塑料给水管件","个"]
[265,"182108000","挠性管(带接头)","根"]
[266,"193800000","铜杆PPR截止阀φ32","个"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第8页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[267,"211301000","陶瓷拖把池","个"]
[268,"211501000","蹲式大便器","个"]
[269,"211701000","挂式小便器","个"]
[270,"212501000","蹲式大便器低水箱","个"]
[271,"213301000","水龙头 DN25","个"]
[272,"213301000","水嘴","个"]
[273,"213312000","感应控制器","套"]
[274,"213316001","自闭式冲洗阀 DN15","个"]
[275,"213320000","大便器冲洗管","根"]
[276,"213326002","蹲式大便器低水箱配件","套"]
[277,"290602000","PVC-25阻燃线管","m"]
[278,"301302000","8位模式信息插座","个"]
[279,"500102001","300*300*38w排气扇","台"]
[280,"550117001","总配电箱","台"]
[281,"BZ02885","户配电箱铁底、塑面、喷塑 7～9位  暗装、空箱","个"]
[282,"Z010000103","型钢(综合)","kg"]
[283,"Z130118001","酚醛清漆","kg"]
[284,"Z130507011","醇酸防锈漆 C53-1","kg"]
[285,"Z210901000","立柱式洗手盆","个"]
[286,"Z250001001","600*600平板灯","套"]
[287,"Z250001001","LED灯带","套"]
[288,"Z250001001","筒灯","套"]
[289,"Z250001001","吸顶灯","套"]
[290,"Z260501001","三位照明开关","个"]
[291,"Z260501001","照明开关 三位开关","个"]
[292,"Z260501001","照明开关 一位开关","个"]
[293,"Z264101001","地插","套"]
[294,"Z264101001","五孔插座","套"]
[295,"Z280301000","BV-2.5mm2铜芯电线","m"]
[296,"Z280301000","铜芯电线BV-2*2.5mm2","m"]
[297,"Z280301000","铜芯电线BV-3*4mm2","m"]
[298,"Z280311000","六类网线","m"]
[299,"Z281100000","铜芯电力电缆 ZR-YJY-1KV-4X25+1X16","m"]
[300,"Z290101000","桥架","m"]
[301,"Z290302000","塑料线槽","m"]
[302,"Z290606000","PVCφ20线管","m"]
[303,"Z290635003","套接管","m"]
[304,null,"◆机械台班组成◆"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第9页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[305,"000301001A","机械台班人工费","元"]
[306,"000301001","机械台班人工费","元"]
[307,"140301004","国V汽油 92#","kg"]
[308,"140304001","轻柴油 0#","kg"]
[309,"341103001.3","电","kW.h"]
[310,"341103001","电","kW.h"]
[311,"341103001","电","kW.h"]
[312,"994701001","其他机械费","元"]
[313,"994701003","停滞费","元"]
[314,"994701004","折旧费","元"]
[315,"994701005","大修理费","元"]
[316,"994701006","经常修理费","元"]
[317,"994701007","安拆及场外运输费","元"]
[318,"994701008","其他费用","元"]
[319,null,"◆机械◆"]
[320,"980502012","工业用真效値万用表","台班"]
[321,"981110002","绝缘电阻测试仪 ZC-8","台班"]
[322,"981701001","对讲机 C15","台班"]
[323,"990506001","混凝土振捣器[平板式]","台班"]
[324,"990509001","灰浆搅拌机[拌筒容量200L]","台班"]
[325,"990704004","载货汽车[装载质量4t]","台班"]
[326,"990704005","载货汽车[装载质量5t]","台班"]
[327,"990704007","载货汽车[装载质量8t]","台班"]
[328,"990903002","汽车式起重机[提升质量8t]","台班"]
[329,"990903005","汽车式起重机[提升质量16t]","台班"]
[330,"991520001","管子切断机[直径 60mm]","台班"]
[331,"991522001","抛光机","台班"]
[332,"991523003","手提砂轮机[砂轮直径Φ150]","台班"]
[333,"991908002A","立式钻床 钻孔直径25mm","台班"]
[334,"991926001","弯管机 WC27~108","台班"]
[335,"992101001","木工圆锯机[直径500mm]","台班"]
[336,"992301003","砂轮切割机 Φ400","台班"]
[337,"992301003","砂轮切割机 400","台班"]
[338,"992302001","石料切割机5.5KW以内","台班"]
[339,"992314001","角向磨光机","台班"]
[340,"992317001","磨边机","台班"]
[341,"992501001A","交流电弧焊机 容量21kV.A","台班"]
[342,"992501002","交流电弧焊机[容量30kVA]","台班"]
[]
["主要材料及价格表"]
["工程名称:2022年广西交通职业技术学院图书馆三楼会议室、卫生间装修和礼堂修缮",{"$nulls":3},"第10页  共10页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[343,"992501004","交流电弧焊机[容量40kVA]","台班"]
[344,"992511001","热熔焊接机 Φ63","台班"]
[345,"994301001","电动空气压缩机[排气量0.3/min]","台班"]
[346,"994410004","试压泵 压力 30MPa","台班"]
[347,"994506004","油压接管钳 50t","台班"]
[348,"994508001","电锤 520W","台班"]
[349,"J00020010","其他机械费","元"]
[350,null,"#### 合 计 ####"]